## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 18:42:36 | step7 | cy14p24 temperirka tz1000 | simatic 300(1) | AI8x13Bit | 6ES7 331-1KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, 8 AI, 13 BIT RESOLUTION, U/I/RESISTANCE/PT100, NI100, NI1000, LG-NI1000, 66 MS MODULE UPDATE, 1 X 40 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF01-0AB0?tree=CatalogTree
2026-03-26 18:42:36 | step7 | cy14p24 temperirka tz1000 | simatic 300(1) | CPU 313C | 6ES7 313-5BE01-0AB0 | 2.0 |  | End Prod.Lifecycl. | SIMATIC S7-300, CPU 313C COMPACT CPU WITH MPI, 24 DI/16 DO, 4AI, 2AO 1 PT100, 3 FAST COUNTERS (30 KHZ), INTEGRATED 24V DC POWER SUPPLY, 32 KBYTE WORKING MEMORY, FRONT CONNECTOR (2 X 40PIN) AND MICRO MEMORY CARD REQUIRED | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7313-5BE01-0AB0?tree=CatalogTree
2026-03-26 18:42:36 | step7 | cy14p24 temperirka tz1000 | simatic 300(1) | DO16xDC24V/0.5A | 6ES7 322-1BH01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 16 DO, 24 V DC, 0.5 A, 1x 20-pole, total current 4 A/group (8 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BH01-0AA0?tree=CatalogTree