## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI4 x U/I ST_A10_7 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI4 x U/I ST_A10_8 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A1.10 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A1.11 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A2.11 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A2.4 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A2.5 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A2.6 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A2.7 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AI8x13Bit_A2.8 | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AO4x12Bit_A2.10 | 6ES7 332-5HD01-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 4 AO, U/I; diagnostics; resolution 11/12 bits, 20-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HD01-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AO8x12Bit_A2.9 | 6ES7 332-5HF00-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 8 AO, U/I; diagnostics; resolution 11/12 bits, 40-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HF00-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | AQ2 x I ST_A5 | 6ES7 135-6GB00-0BA1 |  |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 2xI Standard, Pack quantity: 1 unit, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6GB00-0BA1?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | atcabinetet | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | CP 342-5_DP_EXT_COM | 6GK7 342-5DA02-0XE0 | 5.0 |  | End Prod.Lifecycl. | Communications processor CP 342-5 for connection of SIMATIC S7-300 to PROFIBUS DP, S5-compatible, PG/OP and S7 communication | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7342-5DA02-0XE0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | CP 342-5_DP_IM153 | 6GK7 342-5DA02-0XE0 | 5.0 |  | End Prod.Lifecycl. | Communications processor CP 342-5 for connection of SIMATIC S7-300 to PROFIBUS DP, S5-compatible, PG/OP and S7 communication | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7342-5DA02-0XE0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | CPU 319-3 PN/DP | 6ES7 318-3EL00-0AB0 | 2.8 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC S7-300 CPU 319-3 PN/DP, Central processing unit with 1.4MB memory, 1st interface MPI/DP 12 Mbit/s, 2nd interface DP master/slave 3rd interface Ethernet PROFINET, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7318-3EL00-0AB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI16 x 24VDC ST_A10_1 | 6ES7 131-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI16 x 24VDC ST_A10_2 | 6ES7 131-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI16 x 24VDC ST_A10_3 | 6ES7 131-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI16 x 24VDC ST_A10_4 | 6ES7 131-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI16 x 24VDC ST_A2 | 6ES7 131-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI16/DO16x24V/0.5A_A3.8 | 6ES7 323-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital module SM 323, isolated, 16 DI and 16 DO, 24 V DC, 0.5 A, total current 4 A, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7323-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V A4.10 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V A4.11 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A1.6 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A1.7 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A1.8 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A3.4 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A3.5 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A3.6 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A3.7 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A4.4 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A4.5 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A4.6 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A4.7 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A5.11 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A5.4 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A5.5 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A5.8 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DI32xDC24V_A5.9 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A1.9 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A3.10 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A3.11 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A3.9 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A4.8 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A4.9 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A5.10 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A5.6 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DO32xDC24V/0.5A_A5.7 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DQ16 x 24VDC/0.5A_A10_5 | 6ES7 132-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DQ16 x 24VDC/0.5A_A10_6 | 6ES7 132-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DQ4 x 24VDC/2A ST_A4 | 6ES7 132-6BD20-0BA0 | 1.1 |  | Prod. Discont. | SIMATIC ET 200SP, digital output module, DQ 4x 24VDC/2A Standard, suitable for BU type A0, Color code CC02, Module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BD20-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | DQ8 x 24VDC/0.5A ST_A3 | 6ES7 132-6BF01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | fole62030et1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | Port 1 RJ45 | 6ES7 193-6AR00-0AA0 |  |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | Port 1 RJ45 | 6ES7 193-6AR00-0AA0 |  |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | Port 2 RJ45 | 6ES7 193-6AR00-0AA0 |  |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | Port 2 RJ45 | 6ES7 193-6AR00-0AA0 |  |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | PS 307 5A | 6ES7 307-1EA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V/5 A DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1EA00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | Server module V1.1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 18:43:37 | step7 | fl01p23 formovacia linka fole620 | main_plc_s7_319 | Server module V1.1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree