## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | 2AO I ST | 6ES7 135-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2 AO I 15 mm width, +/-20mA; 13 bit+sign, 4..20mA; 13 bit Cycle time less than 1 ms with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4GB01-0AB0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | 4AI I 2WIRE ST | 6ES7 134-4GD00-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module ET 200S 4AI standard I-2-wire, 4-20 mA; 13 bit, 15 mm width, for 2-wire transducer Cycle time 40 ms/module with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GD00-0AB0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | AI4 x I ST V2.0 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | AI8x13Bit | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | AO8x12Bit | 6ES7 332-5HF00-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 8 AO, U/I; diagnostics; resolution 11/12 bits, 40-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HF00-0AB0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | CPU 315-2 PN/DP | 6ES7 315-2EH14-0AB0 | 3.2 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300 CPU 315-2 PN/DP, central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7315-2EH14-0AB0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI16 x 24VDC ST V0.0 | 6ES7 131-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI16 x 24VDC ST V1.1 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI16 x 24VDC ST V1.1 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI16 x 24VDC ST V1.1 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI16 x 24VDC ST V1.1 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DO16xDC24V/0.5A | 6ES7 322-1BH01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 16 DO, 24 V DC, 0.5 A, 1x 20-pole, total current 4 A/group (8 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BH01-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DQ16 x 24VDC/0.5A ST V0~ | 6ES7 132-6BH01-0BA0 |  |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DQ16 x 24VDC/0.5A ST V1~ | 6ES7 132-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 16x 24VDC/0.5A Standard, suitable for BU type A0, Color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH00-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DQ16 x 24VDC/0.5A ST V1~ | 6ES7 132-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 16x 24VDC/0.5A Standard, suitable for BU type A0, Color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH00-0BA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | DTTP | 6ES7 151-3AA23-0AB0 | 6.0 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, interface module IM 151-3 PN ST for ET 200S transfer rate 100 Mbps max. 63 power, electronic or motor starter modules up to 2 m width can be connected; 2x bus connections via RJ45 incl. termination module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-3AA23-0AB0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | fole620-300gf1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | fole620-314gf1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | fole620-315gf1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | fole620-ch-et200sp-1 | 6ES7 155-6AR00-0AN0 | 3.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Basic, Max. 12 I/O modules, 2x integrated RJ45 sockets incl. server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AR00-0AN0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | PM-E DC24V | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 23:44:38 | step7 | fl17p23 cok.hosp. lekos | simatic 300(1) | Server module V1.1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree