## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 1 COUNT 24V/100 kHz C | 6ES7 138-4DA03-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, ELECTRONIC MODULE F. ET 200S, 1 COUNT 24V/100KHZ 15 MM WIDE, OPERATION MODES: COUNT, MEASURE, (PERIOD DURATION MEASUREMENT HIGH RESOLUTION) WITH CLOCK CYCLIC SYNCHRON.APP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4DA03-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 1 COUNT 24V/100 kHz C | 6ES7 138-4DA03-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, ELECTRONIC MODULE F. ET 200S, 1 COUNT 24V/100KHZ 15 MM WIDE, OPERATION MODES: COUNT, MEASURE, (PERIOD DURATION MEASUREMENT HIGH RESOLUTION) WITH CLOCK CYCLIC SYNCHRON.APP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4DA03-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 1 COUNT 24V/100 kHz C | 6ES7 138-4DA03-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, ELECTRONIC MODULE F. ET 200S, 1 COUNT 24V/100KHZ 15 MM WIDE, OPERATION MODES: COUNT, MEASURE, (PERIOD DURATION MEASUREMENT HIGH RESOLUTION) WITH CLOCK CYCLIC SYNCHRON.APP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4DA03-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 1 COUNT 24V/100 kHz C | 6ES7 138-4DA03-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, ELECTRONIC MODULE F. ET 200S, 1 COUNT 24V/100KHZ 15 MM WIDE, OPERATION MODES: COUNT, MEASURE, (PERIOD DURATION MEASUREMENT HIGH RESOLUTION) WITH CLOCK CYCLIC SYNCHRON.APP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4DA03-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 1 COUNT 24V/100 kHz C | 6ES7 138-4DA03-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, ELECTRONIC MODULE F. ET 200S, 1 COUNT 24V/100KHZ 15 MM WIDE, OPERATION MODES: COUNT, MEASURE, (PERIOD DURATION MEASUREMENT HIGH RESOLUTION) WITH CLOCK CYCLIC SYNCHRON.APP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4DA03-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 1 COUNT 24V/100 kHz C | 6ES7 138-4DA03-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, ELECTRONIC MODULE F. ET 200S, 1 COUNT 24V/100KHZ 15 MM WIDE, OPERATION MODES: COUNT, MEASURE, (PERIOD DURATION MEASUREMENT HIGH RESOLUTION) WITH CLOCK CYCLIC SYNCHRON.APP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4DA03-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DI DC24V ST | 6ES7 131-4BD00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DI STANDARD 24V DC, 15 MM WIDTH, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DO DC24V/0 | 6ES7 132-4BD00-0AA0 | 5A ST |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DO STANDARD DC 24V/0.5A, 15 MM WIDTH 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DO DC24V/0 | 6ES7 132-4BD00-0AA0 | 5A ST |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DO STANDARD DC 24V/0.5A, 15 MM WIDTH 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DO DC24V/0 | 6ES7 132-4BD00-0AA0 | 5A ST |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DO STANDARD DC 24V/0.5A, 15 MM WIDTH 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DO DC24V/0 | 6ES7 132-4BD00-0AA0 | 5A ST |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DO STANDARD DC 24V/0.5A, 15 MM WIDTH 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DO DC24V/0 | 6ES7 132-4BD00-0AA0 | 5A ST |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DO STANDARD DC 24V/0.5A, 15 MM WIDTH 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | 4DO DC24V/0 | 6ES7 132-4BD00-0AA0 | 5A ST |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES FOR ET 200S, 4 DO STANDARD DC 24V/0.5A, 15 MM WIDTH 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | AO4x12Bit | 6ES7 332-5HD01-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 4 AO, U/I; diagnostics; resolution 11/12 bits, 20-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HD01-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | CP 342-5 Jensen | 6GK7 342-5DA02-0XE0 | 5.0 |  | End Prod.Lifecycl. | Communications processor CP 342-5 for connection of SIMATIC S7-300 to PROFIBUS DP, S5-compatible, PG/OP and S7 communication | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7342-5DA02-0XE0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | cp343-1 | 6GK7 343-1EX30-0XE0 | 3.0 |  | Prod. Cancellation | - - spare part - - communications processor CP 343-1 for connection of SIMATIC S7-300 to Industrial Ethernet via ISO and TCP/IP, PROFINET IO controller or PROFINET IO device, integrated 2-port switch ERTEC 200, S7 communication, fetch/write, send/receive RFC1006, multicast, DHCP, NTC- CPU sync, with and without diagnostics, initialization via LAN, 2x RJ45 connection for LAN with 10/100 Mbps. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7343-1EX30-0XE0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | CPU 314C-2 DP | 6ES7 314-6CF01-0AB0 | 2.0 |  | End Prod.Lifecycl. | SIMATIC S7-300, CPU 314C-2DP COMPACT CPU WITH MPI, 24 DI/16 DO, 4AI, 2AO, 1 PT100, 4 FAST COUNTERS (60 KHZ), INTEGRATED DP INTERFACE, INTEGRATED 24V DC POWER SUPPLY, 48 KBYTE WORKING MEMORY, FRONT CONNECTOR ( X 40PIN) AND MICRO MEMORY CARD REQUIRED | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7314-6CF01-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | DI16xDC24V | 6ES7 321-1BH02-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH02-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | DI16xDC24V | 6ES7 321-1BH02-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH02-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | DI16xDC24V | 6ES7 321-1BH02-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH02-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | DI16xDC24V | 6ES7 321-1BH02-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH02-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | DO16xDC24V/0.5A | 6ES7 322-1BH01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 16 DO, 24 V DC, 0.5 A, 1x 20-pole, total current 4 A/group (8 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BH01-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | DO16xDC24V/0.5A | 6ES7 322-1BH01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 16 DO, 24 V DC, 0.5 A, 1x 20-pole, total current 4 A/group (8 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BH01-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | EB12 (IM151-1 Standard) | 6ES7 151-1AA01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, INTERFACE MODULE IM151-1 FOR ET200S; TRANSMISS. RATE UP TO 12MBIT/S; DATA VOLUMEN 128 BYTE FOR EACH INPUT AND OUTPUT; MAX. OF 63 POWER MOD., ELECTR. MOD. OR MOTOR STARTER MODULES CONNECTABLE; BUS INTERFACING VIA 9-WAY SUB-D CONN. INCL. INKL. TERMINATING MODULE | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-1AA01-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | EB56 (IM151-1 Standard) | 6ES7 151-1AA01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, INTERFACE MODULE IM151-1 FOR ET200S; TRANSMISS. RATE UP TO 12MBIT/S; DATA VOLUMEN 128 BYTE FOR EACH INPUT AND OUTPUT; MAX. OF 63 POWER MOD., ELECTR. MOD. OR MOTOR STARTER MODULES CONNECTABLE; BUS INTERFACING VIA 9-WAY SUB-D CONN. INCL. INKL. TERMINATING MODULE | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-1AA01-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | EB78 (IM151-1 Standard) | 6ES7 151-1AA01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, INTERFACE MODULE IM151-1 FOR ET200S; TRANSMISS. RATE UP TO 12MBIT/S; DATA VOLUMEN 128 BYTE FOR EACH INPUT AND OUTPUT; MAX. OF 63 POWER MOD., ELECTR. MOD. OR MOTOR STARTER MODULES CONNECTABLE; BUS INTERFACING VIA 9-WAY SUB-D CONN. INCL. INKL. TERMINATING MODULE | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-1AA01-0AB0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1010-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1012-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1014-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1016-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1022-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1130-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1132-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1532-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1730-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1732-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | m1835-jensen-rotz | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | PM-E DC24V | 6ES7 138-4CA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, POWER MODULE PM-E FOR ET 200S; 24V DC WITH DIAGNOSIS | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | PM-E DC24V | 6ES7 138-4CA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, POWER MODULE PM-E FOR ET 200S; 24V DC WITH DIAGNOSIS | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | PM-E DC24V | 6ES7 138-4CA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC DP, POWER MODULE PM-E FOR ET 200S; 24V DC WITH DIAGNOSIS | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA00-0AA0?tree=CatalogTree
2026-03-26 18:56:24 | step7 | jb01p22 dopravne pasy k balickam | naps | S120) | 6SL3 040-1MA01-0Axx | u1119-s120-jensen-rotz |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3040-1MA01-0Axx?tree=CatalogTree