## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | AI16x16Bit | 6ES7 431-7QH00-0AB0 |  |  | Phase Out Announce | SIMATIC S7-400, analog input SM 431, isolated 16 AI; resolution 16 bit, U/I/Resistor/Thermocouple/Pt100 , alarm, diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7431-7QH00-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | AI16x16Bit | 6ES7 431-7QH00-0AB0 |  |  | Phase Out Announce | SIMATIC S7-400, analog input SM 431, isolated 16 AI; resolution 16 bit, U/I/Resistor/Thermocouple/Pt100 , alarm, diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7431-7QH00-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | AI16x16Bit | 6ES7 431-7QH00-0AB0 |  |  | Phase Out Announce | SIMATIC S7-400, analog input SM 431, isolated 16 AI; resolution 16 bit, U/I/Resistor/Thermocouple/Pt100 , alarm, diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7431-7QH00-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | AO8x13Bit | 6ES7 432-1HF00-0AB0 |  |  | Phase Out Announce | SIMATIC S7-400, analog output SM 432, isolated 8 AO; resolution 13 bit, U/I | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7432-1HF00-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | CP 443-1 | 6GK7 443-1EX11-0XE0 | 2.3 |  | Prod. Discont. | ********** spare part ********* communications processor CP 443-1 for connection of SIMATIC S7-400 to Industrial Ethernet via ISO/TCP/IP and UDP, S7 communication, fetch/write, diagnostic extensions, send/receive, with and without RFC1006, multicast, NTP, initialization via LAN, access protection via IP access list 10/100 Mbit. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7443-1EX11-0XE0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | CP 443-5 EXT_DP_2 | 6GK7 443-5DX03-0XE0 | 5.0 |  | End Prod.Lifecycl. | SIMATIC NET, CP 443-5 EXTENDED COMMUNICATIONS PROCESSOR FOR CONNECTING SIMATIC S7-400 TO PROFIBUS, DP, S5-COMPATIBLE PG/OP AND S7 COMMUNICATION | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7443-5DX03-0XE0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | CP 443-5 EXT_DP_3 | 6GK7 443-5DX03-0XE0 | 5.0 |  | End Prod.Lifecycl. | SIMATIC NET, CP 443-5 EXTENDED COMMUNICATIONS PROCESSOR FOR CONNECTING SIMATIC S7-400 TO PROFIBUS, DP, S5-COMPATIBLE PG/OP AND S7 COMMUNICATION | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7443-5DX03-0XE0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | CPU 412-2 PN | 6ES7 412-2EK07-0AB0 | 7.0 |  | Active Product | SIMATIC S7-400, CPU 412-2 PN Central processing unit with: Work memory 1 MB, (0.5 MB code; 0.5 MB data) interfaces 1st interface MPI/DP 12 Mbit/s, (X1), 2nd interface Ethernet/PROFINET (X5) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7412-2EK07-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | DI32xDC 24V | 6ES7 421-1BL01-0AA0 |  |  | Phase Out Announce | SIMATIC S7-400, digital input SM 421, isolated 32 DI; 24 V DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7421-1BL01-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | DI32xDC 24V | 6ES7 421-1BL01-0AA0 |  |  | Phase Out Announce | SIMATIC S7-400, digital input SM 421, isolated 32 DI; 24 V DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7421-1BL01-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | DI32xDC 24V | 6ES7 421-1BL01-0AA0 |  |  | Phase Out Announce | SIMATIC S7-400, digital input SM 421, isolated 32 DI; 24 V DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7421-1BL01-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | DI32xDC 24V | 6ES7 421-1BL01-0AA0 |  |  | Phase Out Announce | SIMATIC S7-400, digital input SM 421, isolated 32 DI; 24 V DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7421-1BL01-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | DO32xDC24V/0.5A | 6ES7 422-1BL00-0AA0 |  |  | Phase Out Announce | SIMATIC S7-400, digital output SM 422, isolated 32 DO; 24 V DC, 0.5 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7422-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | DO32xDC24V/0.5A | 6ES7 422-1BL00-0AA0 |  |  | Phase Out Announce | SIMATIC S7-400, digital output SM 422, isolated 32 DO; 24 V DC, 0.5 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7422-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | FM 452 CAM | 6ES7 452-1AH00-0AE0 |  |  | Phase Out Announce | SIMATIC S7-400, cam control system FM 452, electronic incl. configuration package on CD | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7452-1AH00-0AE0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M304 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M51-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M53-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M54-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M55-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M56-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M57-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | M58-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | PS 405 20A | 6ES7 405-0RA01-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-400, PS 405 POWER SUPPLY, WIDE RANGE 20A, 24/48/60V DC, 5V/20A DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7405-0RA01-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | form | UR1 S7400 | 6ES7 400-1TA01-0AA0 |  |  | Active Product | SIMATIC S7-400, rack UR1, central and distributed with 18 slots, 2 redundant PS can be plugged in | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7400-1TA01-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | AI8x13Bit | 6ES7 331-1KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, 8 AI, 13 BIT RESOLUTION, U/I/RESISTANCE/PT100, NI100, NI1000, LG-NI1000, 66 MS MODULE UPDATE, 1 X 40 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF01-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | AI8x13Bit | 6ES7 331-1KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, 8 AI, 13 BIT RESOLUTION, U/I/RESISTANCE/PT100, NI100, NI1000, LG-NI1000, 66 MS MODULE UPDATE, 1 X 40 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF01-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | AI8x13Bit | 6ES7 331-1KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, 8 AI, 13 BIT RESOLUTION, U/I/RESISTANCE/PT100, NI100, NI1000, LG-NI1000, 66 MS MODULE UPDATE, 1 X 40 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF01-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | AI8x13Bit | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | AO4x12Bit | 6ES7 332-5HD01-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 4 AO, U/I; diagnostics; resolution 11/12 bits, 20-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HD01-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | AO4x12Bit | 6ES7 332-5HD01-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 4 AO, U/I; diagnostics; resolution 11/12 bits, 20-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HD01-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | AO4x12Bit | 6ES7 332-5HD01-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 4 AO, U/I; diagnostics; resolution 11/12 bits, 20-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HD01-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | CP 343-1 | 6GK7 343-1EX30-0XE0 | 3.0 |  | Prod. Cancellation | - - spare part - - communications processor CP 343-1 for connection of SIMATIC S7-300 to Industrial Ethernet via ISO and TCP/IP, PROFINET IO controller or PROFINET IO device, integrated 2-port switch ERTEC 200, S7 communication, fetch/write, send/receive RFC1006, multicast, DHCP, NTC- CPU sync, with and without diagnostics, initialization via LAN, 2x RJ45 connection for LAN with 10/100 Mbps. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7343-1EX30-0XE0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | CPU 315-2 DP | 6ES7 315-2AG10-0AB0 | 2.0 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC S7-300, CPU 315-2DP Central processing unit with MPI Integr. power supply 24 V DC Work memory 128 KB 2nd interface DP master/slave Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7315-2AG10-0AB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | mas-m032-1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:48:29 | step7 | je01p22 form.linka jensen | masse | PS 307 5A | 6ES7 307-1EA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V/5 A DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1EA00-0AA0?tree=CatalogTree