## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | AO8x12Bit | 6ES7 332-5HF00-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 8 AO, U/I; diagnostics; resolution 11/12 bits, 40-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HF00-0AB0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | AO8x12Bit | 6ES7 332-5HF00-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 8 AO, U/I; diagnostics; resolution 11/12 bits, 40-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HF00-0AB0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | CP 343-1 | 6GK7 343-1EX30-0XE0 | 3.0 |  | Prod. Cancellation | - - spare part - - communications processor CP 343-1 for connection of SIMATIC S7-300 to Industrial Ethernet via ISO and TCP/IP, PROFINET IO controller or PROFINET IO device, integrated 2-port switch ERTEC 200, S7 communication, fetch/write, send/receive RFC1006, multicast, DHCP, NTC- CPU sync, with and without diagnostics, initialization via LAN, 2x RJ45 connection for LAN with 10/100 Mbps. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7343-1EX30-0XE0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | CPU 317-2 DP | 6ES7 317-2AJ10-0AB0 | 2.6 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC S7-300, CPU 317-2DP, Central processing unit with 512 KB work memory, 1st interface MPI/DP 12 Mbit/s, 2nd interface DP master/slave Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7317-2AJ10-0AB0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m11-loesch | 6SL3 246-0BA22-1Fxx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3246-0BA22-1Fxx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m12-loesch | 6SL3 246-0BA22-1Fxx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3246-0BA22-1Fxx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m38-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m39-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m45-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m46-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m6-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m64-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m7-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m8-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | m9-loesch | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | PS 307 2A | 6ES7 307-1BA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V DC/2 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1BA00-0AA0?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | S120) | 6SL3 040-1LA01-0Axx | m55-loesch |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3040-1LA01-0Axx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | S120) | 6SL3 040-1MA00-0xxx | S120_CU320_2_DP_603 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3040-1MA00-0xxx?tree=CatalogTree
2026-03-26 23:56:07 | step7 | ls01p21 form.linka loesch | simatic 300(1) | S120) | 6SL3 040-1MA00-0xxx | S120_CU320_2_DP |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3040-1MA00-0xxx?tree=CatalogTree