## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | AI8x16Bit | 6ES7 331-7NF00-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI; +/-5/10V, 1-5 V, +/-20 mA, 0/4 to 20 mA, 16 bit (55 ms), single-point grounding (50 V COM.), 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7NF00-0AB0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | AO4x12Bit | 6ES7 332-5HD01-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 4 AO, U/I; diagnostics; resolution 11/12 bits, 20-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HD01-0AB0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | CPU 315-2 PN/DP | 6ES7 315-2EH14-0AB0 | 3.2 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300 CPU 315-2 PN/DP, central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7315-2EH14-0AB0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | DI16xDC24V | 6ES7 321-1BH01-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, DIGITAL INPUT SM 321, OPTICALLY ISOLATED, 16DI, 24 V DC, 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH01-0AA0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | DI16xDC24V | 6ES7 321-1BH02-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH02-0AA0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | DO16xDC24V/0.5A | 6ES7 322-1BH01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 16 DO, 24 V DC, 0.5 A, 1x 20-pole, total current 4 A/group (8 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BH01-0AA0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | DO16xDC24V/0.5A | 6ES7 322-1BH01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 16 DO, 24 V DC, 0.5 A, 1x 20-pole, total current 4 A/group (8 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BH01-0AA0?tree=CatalogTree
2026-03-26 19:29:46 | step7 | ls08p21 temperirka tc1600d | simatic 300 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree