## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | CPU 317-2 PN/DP | 6ES7 317-2EK14-0AB0 | 3.2 |  | Prod. Cancellation | SIMATIC S7-300 CPU 317-2 PN/DP, Central processing unit with 1 MB work memory, 1st interface MPI/DP 12 Mbit/s, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7317-2EK14-0AB0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:39:13 | step7 | pr02p10 prijem a skladovanie bobov | skladovanie | PS 307 2A | 6ES7 307-1BA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V DC/2 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1BA00-0AA0?tree=CatalogTree