## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2/4 AI RTD ST; 2ch | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2/4 AI RTD ST; 2ch | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2/4 AI RTD ST; 2ch | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2/4 AI RTD ST; 2ch | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2AI I 2WIRE ST | 6ES7 134-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB01-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2AI I 2WIRE ST | 6ES7 134-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB01-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2AI I 2WIRE ST | 6ES7 134-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB01-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2AI I 2WIRE ST | 6ES7 134-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB01-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2AI I 2WIRE ST | 6ES7 134-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB01-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2AI I 2WIRE ST | 6ES7 134-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB01-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB12-0AB0 |  |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC DP, 5 electronic modules ET 200S: 2 DQ relay (changeover contact) 24 V-48 V DC/5 A, 24 V-230 V AC/5 A, 15 mm width, Substitute value output, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB12-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DI DC24V ST | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DO DC24V/0 | 6ES7 132-4BD02-0AA0 | 5A ST |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DO DC24V/0 | 6ES7 132-4BD02-0AA0 | 5A ST |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DO DC24V/0 | 6ES7 132-4BD02-0AA0 | 5A ST |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DO DC24V/0 | 6ES7 132-4BD02-0AA0 | 5A ST |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DO DC24V/0 | 6ES7 132-4BD02-0AA0 | 5A ST |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DO DC24V/0 | 6ES7 132-4BD02-0AA0 | 5A ST |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 4DO DC24V/0 | 6ES7 132-4BD02-0AA0 | 5A ST |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DO DC24V/0 | 6ES7 132-4BF00-0AB0 | 5A HF |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO High Feature 24 V DC/0.5 A, 15 mm width, Diagnostics short circuit, SF LED 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | 8DO DC24V/0 | 6ES7 132-4BF00-0AB0 | 5A HF |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO High Feature 24 V DC/0.5 A, 15 mm width, Diagnostics short circuit, SF LED 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1-x | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | DS1e-x 2 | 3RK1 301-0CB10-0AA4 | 4-16A HF |  | Prod. Discont. | DS1E-X for ET200S High Feature DOL starter Setting range 2.4...16 A Mechanical switching Electronic protection AC-3, up to 7.5 kW / 400 V expandable for Brake control module 2DI module 2DI module Motor starter ES Circuit breaker signaling parameterizable | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-0CB10-0AA4?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | PM-E DC24V | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | PM-E DC24V | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | PN-Slave151-3-Motor-RW1-3 | 6ES7 151-3AA23-0AB0 | 6.1 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, interface module IM 151-3 PN ST for ET 200S transfer rate 100 Mbps max. 63 power, electronic or motor starter modules up to 2 m width can be connected; 2x bus connections via RJ45 incl. termination module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-3AA23-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | Rack | 6ES7 151-8AB00-0AB0 | 2.7 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC DP, IM151-8 PN/DP CPU f. ET200S, 128 KB work memory int. PROFINET interface (with three RJ45 ports) as IO controller,without battery MMC required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-8AB00-0AB0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | sila17m1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | sila18m1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | sila19m1 | 6SL3 210-1KExx-xxFx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KExx-xxFx?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | SINAMICS-Pumpe-LKW | 6SL3 244-0BA20-1FA0 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BA20-1FA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | SINAMICS-Pumpe-RW2 | 6SL3 244-0BA20-1FA0 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BA20-1FA0?tree=CatalogTree
2026-03-26 19:40:41 | step7 | psi02p7b sila 17-19-1-n-cpu151 | rw13 | SINAMICS-Pumpe-RW3 | 6SL3 244-0BA20-1FA0 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BA20-1FA0?tree=CatalogTree