## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | AO8x12Bit | 6ES7 332-5HF00-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 8 AO, U/I; diagnostics; resolution 11/12 bits, 40-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HF00-0AB0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | AO8x12Bit | 6ES7 332-5HF00-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 8 AO, U/I; diagnostics; resolution 11/12 bits, 40-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HF00-0AB0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | CPU 314C-2 PN/DP | 6ES7 314-6EH04-0AB0 | 3.3 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, CPU 314C-2PN/DP compact CPU with 192 KB work memory, 24 DI/16 DO, 4 AI, 2 AO, 1 Pt100, 4 high-speed counters (60 kHz), 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, integrated power supply 24 V DC, front connector (2x 40-pole) and Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7314-6EH04-0AB0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | PS 307 5A | 6ES7 307-1EA01-0AA0 |  |  | Phase Out Announce | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V/5 A DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1EA01-0AA0?tree=CatalogTree
2026-03-26 19:55:24 | step7 | sg02p22 balicka sapal2 dpn6 | simatic 300(1) | S110) | 6SL3 040-0JA01-0Axx | S110xCU305xPN |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3040-0JA01-0Axx?tree=CatalogTree