## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | CPU 315-2 PN/DP | 6ES7 315-2EH14-0AB0 | 3.2 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300 CPU 315-2 PN/DP, central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7315-2EH14-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DI16xDC24V | 6ES7 321-1BH01-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, DIGITAL INPUT SM 321, OPTICALLY ISOLATED, 16DI, 24 V DC, 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | IM365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | IM365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 1 mar2 | PS307 2A | 6ES7 307-1BA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V DC/2 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1BA00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | AI8x12Bit | 6ES7 331-7KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, U/I/THERMOCOUPLE/RESISTANCE INTERRUPT, DIAGNOSTICS; RESOLUTION 9/12/14 BITS, 8AI, REMOVE/INSERT W. BACKPLANE BUS 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | CPU 315-2PN/DP | 6ES7 315-2EH14-0AB0 | 3.1 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300 CPU 315-2 PN/DP, central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7315-2EH14-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DI16xDC24V | 6ES7 321-1BH01-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, DIGITAL INPUT SM 321, OPTICALLY ISOLATED, 16DI, 24 V DC, 20 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | DO8xDC24V/2A | 6ES7 322-1BF01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 8 DO, 24 V DC, 2 A, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BF01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | IM365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | IM365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 2 mar3 | PS307 2A | 6ES7 307-1BA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V DC/2 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1BA00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | AI8x12Bit | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | AO4x12Bit | 6ES7 332-5HD01-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog output SM 332, isolated, 4 AO, U/I; diagnostics; resolution 11/12 bits, 20-pole, removing and inserting with active backplane bus possible | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7332-5HD01-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | CP 340-RS232C | 6ES7 340-1AH01-0AE0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, CP 340 COMMUNICATION PROCESSOR WITH RS232C INTERFACE (V.24) INCL. CONFIG. PACKAGE ON CD | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7340-1AH01-0AE0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | CPU 317-2 PN/DP | 6ES7 317-2EK13-0AB0 | 2.6 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC S7-300 CPU 317-2 PN/DP, Central processing unit with 1 MB work memory, 1st interface MPI/DP 12 Mbit/s, 2nd interface Ethernet PROFINET, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7317-2EK13-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | IM 365 | 6ES7 365-0BA01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, connection IM 365 for connection of an extension rack, without communications bus, 2 modules+ connecting cable 1 m | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7365-0BA01-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 3 mar4 | PS 307 5A | 6ES7 307-1EA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V/5 A DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1EA00-0AA0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 4 ost6 | CP 343-1 Lean | 6GK7 343-1CX10-0XE0 | 2.0 |  | Prod. Cancellation | - - spare part - - communications processor CP 343-1 Lean for connection of SIMATIC S7-300 to Industrial Ethernet via TCP/IP and UDP, multicast, send/receive with and without RFC1006, fetch/ write, S7 communication (server), PROFINET IO device integrated 2-port switch ERTEC 200, module exchange without PG, SNMP diagnostics, initialization via LAN, 2x RJ45 connection for LAN with 10/100 Mbps. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7343-1CX10-0XE0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 4 ost6 | CPU 313C | 6ES7 313-5BE00-0AB0 | 1.0 |  | End Prod.Lifecycl. | SIMATIC S7-300, CPU 313C COMPACT CPU WITH MPI, 24 DI/16 DO, 4AI, 2AO 1 PT100, 3 FAST COUNTERS (30 KHZ), INTEGRATED 24V DC POWER SUPPLY, 32 KBYTE WORKING MEMORY, MICRO MEMORY CARD REQUIRED | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7313-5BE00-0AB0?tree=CatalogTree
2026-03-26 20:01:59 | step7 | sut02p21 mar2 | 7 300 4 ost6 | PS 307 2A | 6ES7 307-1BA00-0AA0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V DC/2 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1BA00-0AA0?tree=CatalogTree