## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 2/4 AI RTD ST; 2ch | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 2/4 AI RTD ST; 2ch | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 2AO U ST | 6ES7 135-4FB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2 AO U, 15 mm width, +/-10V; 13 bit+sign, 1..5 V; 12 bit, Cycle time less than 1 ms with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4FB01-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB10-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES ET200S: 2DO RELAY(FORM C CONT.) DC24V-48V/5A, AC24V-230V/5A, 15 MM WIDTH, FIRST-UP SIGNAL, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB10-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB10-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES ET200S: 2DO RELAY(FORM C CONT.) DC24V-48V/5A, AC24V-230V/5A, 15 MM WIDTH, FIRST-UP SIGNAL, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB10-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB10-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES ET200S: 2DO RELAY(FORM C CONT.) DC24V-48V/5A, AC24V-230V/5A, 15 MM WIDTH, FIRST-UP SIGNAL, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB10-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 2RO NO/NC 24..230V/5A | 6ES7 132-4HB10-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC DP, 5 ELECTRON. MODULES ET200S: 2DO RELAY(FORM C CONT.) DC24V-48V/5A, AC24V-230V/5A, 15 MM WIDTH, FIRST-UP SIGNAL, 5 PIECES PER PACKAGING UNIT | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB10-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 4AI I 2WIRE ST | 6ES7 134-4GD00-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module ET 200S 4AI standard I-2-wire, 4-20 mA; 13 bit, 15 mm width, for 2-wire transducer Cycle time 40 ms/module with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GD00-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DI DC24V | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | 8DO DC24V/0.5A | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | DP | 6ES7 138-4HA00-0AB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP,DP master interface for IM151-7 CPU or IM151-8 PN/DP (ET200S), module with PROFIBUS DP interface (9-pole D-sub socket) as DP master | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4HA00-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | IM151-8 PN/DP CPU | 6ES7 151-8AB01-0AB0 | 3.2 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, IM151-8 PN/DP CPU for ET200S, 192 KB work memory, int. PROFINET interface (with three RJ45 ports) as IO Controller,without battery MMC required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-8AB01-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | PM-E DC24V | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | PM-E DC24V | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | PM-E DC24V | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | PM-E DC24V | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | PN-Slave151-3-CO7 | 6ES7 151-3AA23-0AB0 | 6.0 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, interface module IM 151-3 PN ST for ET 200S transfer rate 100 Mbps max. 63 power, electronic or motor starter modules up to 2 m width can be connected; 2x bus connections via RJ45 incl. termination module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-3AA23-0AB0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | SINAMICS-Pumpe-CO7 | 6SL3 244-0BA20-1FA0 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BA20-1FA0?tree=CatalogTree
2026-03-26 20:14:45 | step7 | vh37p20 conche 7-1-pn-cpu151 | co7 | SINAMICS-Welle-CO7 | 6SL3 244-0BB12-1FAx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FAx?tree=CatalogTree