## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | AI8x13Bit | 6ES7 331-1KF01-0AB0 |  |  | End Prod.Lifecycl. | SIMATIC S7-300, ANALOG INPUT SM 331, OPTICALLY ISOLATED, 8 AI, 13 BIT RESOLUTION, U/I/RESISTANCE/PT100, NI100, NI1000, LG-NI1000, 66 MS MODULE UPDATE, 1 X 40 PIN | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF01-0AB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | AI8x13Bit | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | AI8x13Bit | 6ES7 331-1KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated 8 AI, resolution 13 bit U/I/resistance/Pt100, NI100, NI1000, LG-NI1000, PTC/KTY, 66 ms conversion time; 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-1KF02-0AB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | Chocolate | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | CP 342-5 | 6GK7 342-5DA03-0XE0 | 6.0 |  | Prod. Cancellation | - - spare part - - communications processor CP 342-5 for connection of SIMATIC S7-300 to PROFIBUS DP, S5-compatible, PG/OP and S7 communication. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7342-5DA03-0XE0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DI32xDC24V | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | DO32xDC24V/0.5A | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | ESP2.1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | Fondant | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | IM 153-1 | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | Milk | 6ES7 153-1AA03-0XB0 |  |  | Prod. Cancellation | *** spare part *** SIMATIC DP, connection IM 153-1, for ET 200M, for max. 8 S7-300 modules | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7153-1AA03-0XB0?tree=CatalogTree
2026-03-26 20:20:58 | step7 | vh40p20 reimelt | plc | Program IHS SK | 6ES7 314-6EH04-0AB0 | 3.3 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, CPU 314C-2PN/DP compact CPU with 192 KB work memory, 24 DI/16 DO, 4 AI, 2 AO, 1 Pt100, 4 high-speed counters (60 kHz), 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, integrated power supply 24 V DC, front connector (2x 40-pole) and Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7314-6EH04-0AB0?tree=CatalogTree