## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | AMC_HMI_1 | AMC_HMI_1 | 6AV2 124-0MC01-0AX0 | 15.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0MC01-0AX0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K1 8DI | 6ES7 131-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | ***spare part*** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Standard, suitable for BU type A0, Color code CC01, Module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K2 8DI | 6ES7 131-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | ***spare part*** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Standard, suitable for BU type A0, Color code CC01, Module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K3 8DI | 6ES7 131-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | ***spare part*** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Standard, suitable for BU type A0, Color code CC01, Module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K4 8DI | 6ES7 131-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | ***spare part*** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Standard, suitable for BU type A0, Color code CC01, Module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K5 8DO | 6ES7 132-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 8x 24 V DC/0.5 A Standard, suitable for BU type A0, color code CC02, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K6 8DO | 6ES7 132-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 8x 24 V DC/0.5 A Standard, suitable for BU type A0, color code CC02, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K7 8DO | 6ES7 132-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 8x 24 V DC/0.5 A Standard, suitable for BU type A0, color code CC02, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K8 8DO | 6ES7 132-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 8x 24 V DC/0.5 A Standard, suitable for BU type A0, color code CC02, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | =A50 K9 8DO | 6ES7 132-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 8x 24 V DC/0.5 A Standard, suitable for BU type A0, color code CC02, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | AMC_PLC_1 | 6ES7 512-1DK01-0AB0 | 2.5 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP-1 PN for ET 200SP, central processing unit with work memory 200 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1DK01-0AB0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_1 | Server module | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K1 8DI | 6ES7 131-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | ***spare part*** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Standard, suitable for BU type A0, Color code CC01, Module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K10 2AI | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K11 2AO | 6ES7 135-6HB00-0CA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 2x U/I High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K12 2AO | 6ES7 135-6HB00-0CA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 2x U/I High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K2 8DO | 6ES7 132-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 8x 24 V DC/0.5 A Standard, suitable for BU type A0, color code CC02, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K3 8DO | 6ES7 132-6BF00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 8x 24 V DC/0.5 A Standard, suitable for BU type A0, color code CC02, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF00-0BA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K4 4RO | 6ES7 132-6HD00-0BB1 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, relay module normally open, RQ 4x120 V DC..230 V AC/5 A Standard suitable for BU type B0 or B1, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6HD00-0BB1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K5 2AI | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K6 2AI | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K7 2AI | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K8 2AI | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | =A51 K9 2AI | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | External_IO_1 | 6ES7 155-6AU00-0CN0 | 3.3 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, PROFINET interface module IM 155-6PN High Feature max. 64 I/O modules, 0.25 ms isochronous mode Multi-hotswap, incl. server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU00-0CN0?tree=CatalogTree
2026-03-26 20:32:30 | tia15 | FL12P23 Temperirka AASTED AMC1500-5840_03_0001_AMC_STD_V3_955 | ET 200SP station_2 | Server module | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree