## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 2AO x U ST_1 | 6ES7 135-4FB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2 AO U, 15 mm width, +/-10V; 13 bit+sign, 1..5 V; 12 bit, Cycle time less than 1 ms with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4FB01-0AB0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_1 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_2 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_3 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_4 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_5 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_6 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_7 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_8 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DI x 24VDC_9 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DO x 24VDC / 0.5A_1 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DO x 24VDC / 0.5A_2 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DO x 24VDC / 0.5A_3 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DO x 24VDC / 0.5A_4 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | 8DO x 24VDC / 0.5A_5 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | PLC_1 | 6ES7 151-8AB01-0AB0 | 3.2 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, IM151-8 PN/DP CPU for ET200S, 192 KB work memory, int. PROFINET interface (with three RJ45 ports) as IO Controller,without battery MMC required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-8AB01-0AB0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | PM-E 24VDC_1 | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | ET 200S station_1 | PM-E 24VDC_2 | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | PC-System_1 | PC-System_1 | 6AV7240-xAxxx-xxxx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6AV7240-xAxxx-xxxx?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | SINAMICS G_1 | nove-smp-290m2 | 6SL3210-1KE13-2AF2 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 1,1kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,75kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE13-2AF2?tree=CatalogTree
2026-03-26 20:36:16 | tia15_1 | SM02P22 SMP Cerpanie-Nove_SMP | SINAMICS G_2 | nove-smp-224m1 | 6SL3210-1KE13-2AF2 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 1,1kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,75kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE13-2AF2?tree=CatalogTree