## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | cm1200chlad-tp | cm1200chlad-tp | 6AV2 124-0MC01-0AX0 | 16.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0MC01-0AX0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AI 4xI 2-,4-wire ST_1 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AI 4xI 2-,4-wire ST_2 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AI 4xI 2-,4-wire ST_3 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AI 4xI 2-,4-wire ST_4 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AI 4xI 2-,4-wire ST_5 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AI 4xI 2-,4-wire ST_6 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AI 4xI 2-,4-wire ST_7 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AQ 4xU/I ST_1 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | AQ 4xU/I ST_2 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | cm1200chlad-cpu | 6ES7 512-1DK01-0AB0 | 2.8 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP-1 PN for ET 200SP, central processing unit with work memory 200 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1DK01-0AB0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | DI 16x24VDC ST_2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | DI 16x24VDC ST_3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | DQ 16x24VDC/0.5A ST_2 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | SINAMICS G_2 | cm1200chlad-gf1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 20:40:43 | tia16 | CM11P2B CM1200 chladenie-CH1200 | SINAMICS G_2 | PM240 IP20 | 6SL3224-0BE31-1AA0 | - |  | Prod. Cancellation | ***spare part*** SINAMICS G120 PM240 Power Module with integrated filter class A with integrated braking chopper 380-480 V 3 AC +10/-10% 47-63 Hz power high overload: 11 kW at 200% 3 s,150% 57 s,100% 240 s ambient temperature -10 to +50 °C power low overload: 15 kW at 150% 3 s,110% 57 s,100% 240 s ambient temperature -10 to +40 °C 334 x 189 x 185 (HxWxD), FSC degree of protection IP20 without Control Unit and BOP | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3224-0BE31-1AA0?tree=CatalogTree