## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A10 8DI x 24VDC_1 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A11 8DI x 24VDC_1 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A12 8DI x 24VDC_3 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A13 8DO x 24VDC / 0.5A_1 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A14 8DO x 24VDC / 0.5A_2 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A15 8DO x 24VDC / 0.5A_3 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A16 2AO x I ST_2 | 6ES7 135-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2 AO I 15 mm width, +/-20mA; 13 bit+sign, 4..20mA; 13 bit Cycle time less than 1 ms with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4GB01-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A17 2AO x U ST_2 | 6ES7 135-4FB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2 AO U, 15 mm width, +/-10V; 13 bit+sign, 1..5 V; 12 bit, Cycle time less than 1 ms with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4FB01-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A18 4DO x 24VDC / 0.5A ST_1 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A4 PM-E 24 to 48VDC / 24 to 230VAC_1 | 6ES7 138-4CB11-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S, 24-48 V DC, 24-230 V AC, with diagnostics and fuse | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CB11-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A5 4AI x I 2WIRE ST_1 | 6ES7 134-4GD00-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module ET 200S 4AI standard I-2-wire, 4-20 mA; 13 bit, 15 mm width, for 2-wire transducer Cycle time 40 ms/module with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GD00-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A6 4AI x I 2WIRE ST_2 | 6ES7 134-4GD00-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module ET 200S 4AI standard I-2-wire, 4-20 mA; 13 bit, 15 mm width, for 2-wire transducer Cycle time 40 ms/module with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GD00-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A7 2AO x U ST_1 | 6ES7 135-4FB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2 AO U, 15 mm width, +/-10V; 13 bit+sign, 1..5 V; 12 bit, Cycle time less than 1 ms with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4FB01-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A8 2AO x I ST_1 | 6ES7 135-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2 AO I 15 mm width, +/-20mA; 13 bit+sign, 4..20mA; 13 bit Cycle time less than 1 ms with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4GB01-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | A9 PM-E 24 to 48VDC / 24 to 230VAC_2 | 6ES7 138-4CB11-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S, 24-48 V DC, 24-230 V AC, with diagnostics and fuse | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CB11-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | ET 200S station_1 | r302-et200s-cpu | 6ES7 151-8AB01-0AB0 | 3.2 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, IM151-8 PN/DP CPU for ET200S, 192 KB work memory, int. PROFINET interface (with three RJ45 ports) as IO Controller,without battery MMC required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-8AB01-0AB0?tree=CatalogTree
2026-03-26 20:42:24 | tia16 | FL29P23 Roztapacka Milking R302-R302 | r302-ktp1000 | r302-ktp1000 | 6AV6 647-0AF11-3AX0 | 12.0.0.0 |  | Prod. Cancellation | SIMATIC HMI KTP1000 Basic Color PN, Basic Panel, Key/touch operation, 10" TFT display, 256 colors, PROFINET interface, configurable as of WinCC flexible 2008 SP2 Compact/ WinCC Basic V10.5/ STEP 7 Basic V10.5, contains open-source software, which is provided free of charge see enclosed CD | https://sieportal.siemens.com/en-ww/products-services/detail/6AV6647-0AF11-3AX0?tree=CatalogTree