## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | ET 200SP station_1 | AI 4xU/I 2-wire ST_1 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | ET 200SP station_1 | AQ 4xU/I ST_1 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | ET 200SP station_1 | DI 8x24VDC BA_1 | 6ES7 131-6BF01-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Basic, type 2 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | ET 200SP station_1 | DQ 8x24VDC/0.5A ST_1 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | ET 200SP station_1 | loesch-ruk1-im | 6ES7 155-6AU00-0BN0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, PROFINET interface module IM 155-6PN standard, max. 32 I/O modules, incl. server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU00-0BN0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | hc510_ipc | hc510_ipc | 6AV7882-0xxxx-xxxx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6AV7882-0xxxx-xxxx?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | hc510_ipc | HMI_RT_1 | 6AV2 104-0xxxx-xxxx | 16.0.0.0 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2104-0xxxx-xxxx?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | hc510_ipc | PROFINET onboard_1 | IE_CP | SW V8.2 ... |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/IE_CP?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | AI 8x12BIT_1 | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | DI 32x24VDC_1 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | DI 32x24VDC_2 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | DI 32x24VDC_3 | 6ES7 321-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated 32 DI, 24 V DC, 1x 40-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BL00-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | DO 32x24VDC/0.5A_1 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | DO 32x24VDC/0.5A_2 | 6ES7 322-1BL00-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 32 DO, 24 V DC, 0.5 A, 1x 40-pole, total current 4 A/group (16 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BL00-0AA0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | hc510_cpu | 6ES7 315-2EH14-0AB0 | 3.2 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300 CPU 315-2 PN/DP, central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7315-2EH14-0AB0?tree=CatalogTree
2026-03-27 00:09:46 | tia16 | LS12P21 Cokol.hosp. Loesch-CoHoLoesch | SIMATIC 300(1) | PS 307 2A_1 | 6ES7 307-1BA01-0AA0 |  |  | Phase Out Announce | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V DC/2 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7307-1BA01-0AA0?tree=CatalogTree