## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | AI 2xU/I 2-,4-wire HF_1 | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | AI 4xRTD/TC 2-,3-,4-wire HF_1 | 6ES7 134-6JD00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 4xRTD/TC High Feature, suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1%, 2-/3-/4-wire | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6JD00-0CA1?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | DI 8x24VDC BA_1 | 6ES7 131-6BF01-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Basic, type 2 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0AA0?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | DQ 8x24VDC/0.5A BA_1 | 6ES7 132-6BF01-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Basic, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0AA0?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | l2rr-cpu | 6ES7 510-1DJ01-0AB0 | 2.6 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1510SP-1 PN for ET 200SP, central processing unit with work memory 100 KB for program and 750 KB for data, 1st interface: PROFINET IRT with 3-port switch, 72 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7510-1DJ01-0AB0?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | ET 200SP-Station_1 | Servermodul_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 20:55:50 | tia16 | VH02P20 2-valec L2-Figaro Dvojvalec L2_V16 | l2rr-op | l2rr-op | 6AV2 124-0JC01-0AX0 | 15.1.0.0 |  | Phase Out Announce | SIMATIC HMI TP900 Comfort, Comfort Panel, touch operation, 9" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0JC01-0AX0?tree=CatalogTree