## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | AI 4xI 2-,4-wire ST_1 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | AI 8xRTD/TC 2-wire HF_1 | 6ES7 134-6JF00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 8xRTD/TC 2-wire High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6JF00-0CA1?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | DI 16x24VDC ST_2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | DI 16x24VDC ST_3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | DQ 16x24VDC/0.5A ST_2 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | F-DI 8x24VDC HF_1 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | F-DQ 4x24VDC/2A PM HF_1 | 6ES7 136-6DB00-0CA0 | 2.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | l1v5-cpu | 6ES7 512-1SK01-0AB0 | 2.8 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP F-1 PN for ET 200SP, central processing unit with work memory 300 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1SK01-0AB0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | RQ 4x120VDC/230VAC/5A NO ST_1 | 6ES7 132-6HD01-0BB1 | 0.0 |  | Active Product | SIMATIC ET 200SP, Relay module, RQ NO 4x 120V DC..230VAC/5A ST. 4 normally open contacts, isolated contacts, packing unit: 1 piece, fits to BU-type B0 and B1, Colour Code CC40, substitute value output, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6HD01-0BB1?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | ET 200SP-Station_1 | Servermodul_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 20:57:14 | tia16 | VH07P20 5-valec 5 L1-Figaro 5valec linka1v5 | l1v5-op | l1v5-op | 6AV2 124-0JC01-0AX0 | 16.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP900 Comfort, Comfort Panel, touch operation, 9" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0JC01-0AX0?tree=CatalogTree