## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | Mondelez_Aroma_HMI | Mondelez_Aroma_HMI | 6AV2 124-0GC01-0AX0 | 16.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP700 Comfort, Comfort Panel, touch operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0GC01-0AX0?tree=CatalogTree
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | S7-300 station_1 | AI8 x 12 bits_1 | 6ES7 331-7KF02-0AB0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, analog input SM 331, isolated, 8 AI, resolution 9/12/14 bits, U/I/thermocouple/resistor, alarm, diagnostics, 1x 20-pole removing/inserting with active backplane bus | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7331-7KF02-0AB0?tree=CatalogTree
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | S7-300 station_1 | DI16 x 24VDC_1 | 6ES7 321-1BH02-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH02-0AA0?tree=CatalogTree
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | S7-300 station_1 | DI16 x 24VDC_2 | 6ES7 321-1BH02-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7321-1BH02-0AA0?tree=CatalogTree
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | S7-300 station_1 | DO16 x 24VDC / 0.5A_1 | 6ES7 322-1BH01-0AA0 |  |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300, digital output SM 322, isolated, 16 DO, 24 V DC, 0.5 A, 1x 20-pole, total current 4 A/group (8 A/module) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7322-1BH01-0AA0?tree=CatalogTree
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | S7-300 station_1 | Mondelez_Aroma_System | 6ES7 315-2EH14-0AB0 | 3.2 |  | Prod. Cancellation | ***spare part*** SIMATIC S7-300 CPU 315-2 PN/DP, central processing unit with 384 KB work memory, 1st interface MPI/DP 12 Mbps, 2nd interface Ethernet PROFINET, with 2-port switch, Micro Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7315-2EH14-0AB0?tree=CatalogTree
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | SINAMICS G_1 | AROMA | 6SL3210-1KE12-3AF1 | 4.6 |  | Prod. Cancellation | ***spare part*** SINAMICS G120C rated power: 0.75 kW with 150% overload for 3 s 380-480V3AC+10/-20% 47-63Hz integrated filter class A I/O interface: 6 DI, 2 DQ, 1 AI, 1 AQ Safe Torque Off integrated fieldbus integrated: PROFINET PN degree of protection IP20/UL Open Type size: FSA 196x 73x 225.4 (HxWxD) external 24 V | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE12-3AF1?tree=CatalogTree
2026-03-26 20:58:05 | tia16 | VH07P2B SPX mixer 1 aroma-SPX1Aroma | SINAMICS G_2 | HMOTA | 6SL3210-1KE21-3AF1 | 4.6 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 5,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 4,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-3AF1?tree=CatalogTree