## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | DEP1_A51_D1 | 6ES7 155-6AU01-0CN0 | 4.2 |  | Active Product | SIMATIC ET 200SP, PROFINET, 2-port interface module IM 155-6PN/2 High Feature, 1 slot for BusAdapter, max. 64 I/O modules and 16 ET 200AL modules, S2 redundancy, multi-hotswap, 0.25 ms, isochronous mode, optional PN strain relief, including server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0CN0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | DEP1_A51_K1 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | DEP1_A51_K2 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | DEP1_A51_K3 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | DEP1_A51_K4 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | DEP1_A51_K5 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A51_D1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_D1 | 6ES7 155-6AU01-0CN0 | 4.2 |  | Active Product | SIMATIC ET 200SP, PROFINET, 2-port interface module IM 155-6PN/2 High Feature, 1 slot for BusAdapter, max. 64 I/O modules and 16 ET 200AL modules, S2 redundancy, multi-hotswap, 0.25 ms, isochronous mode, optional PN strain relief, including server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0CN0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K1 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K10 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K11 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K12 | 6ES7 138-6CG00-0BA0 | 1.0 |  | Active Product | SIMATIC ET 200SP, TM timer DIDQ 10x 24V time-controlled digital inputs and outputs 4 DI, 6DQ with time stamp Count, PWM, oversampling | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-6CG00-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K13 | 6ES7 137-6BD00-0BA0 | 2.2 |  | Active Product | SIMATIC ET 200SP, CM 4xIO-Link ST Communication module IO-Link Master V1.1 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7137-6BD00-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K14 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K16 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K17 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K2 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K4 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K6 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | DEP1_A52_K8 | 6ES7 134-6GF00-0AA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 8XI 2-/4-wire Basic, suitable for BU type A0, A1, Color code CC01, Module diagnostics, 16 bit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GF00-0AA1?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | F-DI 8x24VDC HF_1 | 6ES7 136-6BA01-0CA0 | 1.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | F-DI 8x24VDC HF_2 | 6ES7 136-6BA01-0CA0 | 1.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | F-DI 8x24VDC HF_3 | 6ES7 136-6BA01-0CA0 | 1.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | F-DI 8x24VDC HF_4 | 6ES7 136-6BA01-0CA0 | 1.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | F-DI 8x24VDC HF_5 | 6ES7 136-6BA01-0CA0 | 1.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | F-DI 8x24VDC HF_6 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A52_D1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | DEP1_A84_D1 | 6ES7 155-6AU01-0CN0 | 4.2 |  | Active Product | SIMATIC ET 200SP, PROFINET, 2-port interface module IM 155-6PN/2 High Feature, 1 slot for BusAdapter, max. 64 I/O modules and 16 ET 200AL modules, S2 redundancy, multi-hotswap, 0.25 ms, isochronous mode, optional PN strain relief, including server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0CN0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | DEP1_A84_K1 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | DEP1_A84_K2 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | DEP1_A84_K3 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | DEP1_A84_K4 | 6ES7 136-6DB00-0CA0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | DEP1_A84_K5 | 6ES7 132-6HD01-0BB1 | 0.0 |  | Active Product | SIMATIC ET 200SP, Relay module, RQ NO 4x 120V DC..230VAC/5A ST. 4 normally open contacts, isolated contacts, packing unit: 1 piece, fits to BU-type B0 and B1, Colour Code CC40, substitute value output, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6HD01-0BB1?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | DEP1_A84_K6 | 6ES7 132-6HD01-0BB1 | 0.0 |  | Active Product | SIMATIC ET 200SP, Relay module, RQ NO 4x 120V DC..230VAC/5A ST. 4 normally open contacts, isolated contacts, packing unit: 1 piece, fits to BU-type B0 and B1, Colour Code CC40, substitute value output, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6HD01-0BB1?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_A84_D1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_AGI1_T1 | DEP1_AGI1_T1 | 6SL3210-1KE12-3AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,75kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,55kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE12-3AF2?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_OFF2_T1 | DEP1_OFF2_T1 | 6SL3210-1KE12-3AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,75kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,55kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE12-3AF2?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_SHH1_T1 | DEP1_SHH1_T1 | 6SL3210-1KE11-8AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,55kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,37kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE11-8AF2?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | DEP1_SHH2_T1 | DEP1_SHH2_T1 | 6SL3210-1KE12-3AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,75kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,55kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE12-3AF2?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | Drive Controller_1 | DEP1_A71_K1_PLC | 6ES7 615-4DF10-0AB0 | 2.9 |  | Active Product | SIMATIC S7-1500, Drive Controller CPU 1504D TF with SINAMICS S120 Integrated; interfaces: 12 DI, 16 DI/DQ, 4 DRIVE-CLiQ, 3 PROFINET: 3+1+1 ports, 1 PROFIBUS, SIMATIC Memory Card required; supported firmware version: SIMATIC S7-1500 FW up to V3.1 (technology version up to V8.0), SINAMICS FW V5.2/V5.2 SP3 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7615-4DF10-0AB0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_D1 | 6ES7 155-6AU01-0CN0 | 4.2 |  | Active Product | SIMATIC ET 200SP, PROFINET, 2-port interface module IM 155-6PN/2 High Feature, 1 slot for BusAdapter, max. 64 I/O modules and 16 ET 200AL modules, S2 redundancy, multi-hotswap, 0.25 ms, isochronous mode, optional PN strain relief, including server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0CN0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K1 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K2 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K3 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K4 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K5 | 6ES7 135-6HB00-0CA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 2x U/I High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HB00-0CA1?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K6 | 6ES7 135-6HB00-0CA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 2x U/I High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HB00-0CA1?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K7 | 6ES7 135-6HB00-0CA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 2x U/I High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HB00-0CA1?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | DEP1_A53_K8 | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | GSD device_1 | cm1200fl-plc.pn1 | 6ES7 515-2FM02-0AB0 | 2.9 |  | Prod. Cancellation | *** spare part *** SIMATIC S7-1500F, CPU 1515F-2 PN, central processing unit with work memory 750 KB for program and 3 MB for data, 1st interface: PROFINET IRT with 2-port switch, 2nd interface: PROFINET RT, 30 ns bit performance, SIMATIC Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7515-2FM02-0AB0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | GSD device_3 | MC-ENCODER-Singleturn-13Bit | 6FX2001-5xN13 | 1.0 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6FX2001-5xN13?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | HMI_ASC | HMI_ASC | 6AV2 124-0MC01-0AX0 | 16.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0MC01-0AX0?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | SCALANCE XB-200 | DEP1_A91_T1 | 6GK5 208-0BA00-2AB2 | 4.3 |  | Active Product | SCALANCE XB208 managed Layer 2 IE switch 8x 10/100 Mbit/s RJ45 ports 1x console port; diagnostics LED redundant power supply IEC 62443-4-2 certified; temperature range 0 °C to +60 °C; DIN-rail mounting; default PROFINET. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK5208-0BA00-2AB2?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | SINAMICS G_1 | VIM1_T1 | 6SL3210-1KE11-8AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,55kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,37kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE11-8AF2?tree=CatalogTree
2026-03-26 21:01:27 | tia17 | CM03P20 Nalievacka Aasted-6423_04_0001_V3_11 | SINAMICS S_1 | DEP1_A71_K1 | 6ES7615-xDS1x-0xxx | 5.2.3 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7615-xDS1x-0xxx?tree=CatalogTree