## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 100A00 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A1 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A10 | 6ES7 134-6HB00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 2x U/I 2-.4-wire High Feat., suitable for BU type A0, A1, Color code CC05, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HB00-0CA1?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A2 | 6ES7 136-6DB00-0CA0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A3 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A4 | 6ES7 136-6DB00-0CA0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A5 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A6 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A7 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A8 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | 102A9 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | Wr_100A0_Cabinet | 6ES7 512-1SK01-0AB0 | 2.8 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP F-1 PN for ET 200SP, central processing unit with work memory 300 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1SK01-0AB0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A0_Cabinet | Wr_CP_100A1 | 6GK7 542-6UX00-0XE0 | 2.1 |  | Active Product | Communications processor CP 1542SP-1 for connection of an SIMATIC S7-ET 200SP to Industrial Ethernet; open IE communication (TCP/IP, ISO-on-TCP, UDP), PG/OP, S7 routing, IP broadcast/multicast, SNMPV1, DHCP, Email, IPV4/IPV6, time-of-day synchronization via NTP, access to web server of CPU, bus adapter required. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK7542-6UX00-0XE0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A6_PNPN Coupler | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A6_PNPN Coupler | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A6_PNPN Coupler | Wr_100A6_PNPN Coupler.X1 | 6ES7 158-3AD10-0XA0 | 4.2 |  | Active Product | SIMATIC PN/PN Coupler for deterministic data exchange between max.4 PN-Controller per subnet, also from subnet to subnet, PROFIsafe data exchange, I/O-, MSI-, MSO- and data record communication, redundant power supply, PN-connection via SIMATIC BusAdapter (BA), delivery w/o BusAdapter | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7158-3AD10-0XA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_100A6_PNPN Coupler | Wr_100A6_PNPN Coupler.X2 | 6ES7 158-3AD10-0XA0 | 4.2 |  | Active Product | SIMATIC PN/PN Coupler for deterministic data exchange between max.4 PN-Controller per subnet, also from subnet to subnet, PROFIsafe data exchange, I/O-, MSI-, MSO- and data record communication, redundant power supply, PN-connection via SIMATIC BusAdapter (BA), delivery w/o BusAdapter | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7158-3AD10-0XA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_Drive320T1 | Wr_Drive320T1 | 6SL3210-1KE13-2AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 1,1kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,75kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE13-2AF2?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_Drive40T1 | PM240-2 IP20 | 6SL3210-1PE16-1ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE16-1ALx?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_Drive40T1 | Wr_Drive40T1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_Drive41T1 | PM240-2 IP20 | 6SL3210-1PE21-1ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE21-1ALx?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_Drive41T1 | Wr_Drive41T1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:06:17 | tia17 | FB22P23 TOSA ovinovacka-TE6879 | Wr_Drive46T1 | Wr_Drive46T1 | 6SL3210-1KE12-3AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,75kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,55kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE12-3AF2?tree=CatalogTree