## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_1 | A6.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_1 | A6.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_1 | A6.3 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_1 | A6.4 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_1 | A6.5 | 6ES7 136-6DB00-0CA0 | 2.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.4 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.5 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.6 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.7 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.8 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | A10.9 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_10 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_2 | A1.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_2 | A1.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_2 | A1.3 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_2 | A1.4 | 6ES7 136-6DB00-0CA0 | 2.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_2 | A1.5 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_2 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_2 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_3 | A2.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_3 | A2.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_3 | A2.3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_3 | A2.4 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_3 | A2.5 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_3 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_3 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.4 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.5 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.6 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.7 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.8 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | A3.9 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_4 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_5 | A4.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_5 | A4.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_5 | A4.3 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_5 | A4.4 | 6ES7 136-6DB00-0CA0 | 2.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_5 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_5 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | A5.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | A5.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | A5.3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | A5.4 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | A5.5 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | A5.6 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_6 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.10 | 6ES7 136-6BA01-0CA0 | 1.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.4 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.5 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.6 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.7 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.8 | 6ES7 136-6BA01-0CA0 | 2.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | A7.9 | 6ES7 136-6BA01-0CA0 | 1.0 |  | Active Product | SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PLe (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA01-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_7 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_8 | A8.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_8 | A8.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_8 | A8.3 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_8 | A8.4 | 6ES7 136-6DB00-0CA0 | 2.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_8 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_8 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_9 | A9.1 | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_9 | A9.2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_9 | A9.3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_9 | A9.4 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_9 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | ET 200SP station_9 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | GSD device_1 | Robot_LEKOS | 888-3 | 1.4 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/888-3?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | GSD device_2 | MXR_Cama | TN 197330 | 3.2.24 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/TN197330?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | GSD device_3 | Robot_CAMA | 888-3 | 1.4 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/888-3?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | GSD device_4 | MXR_Lekos | TN 197330 | 3.2.24 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/TN197330?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | GSD device_6 | Port 1 (2xRJ45) | 6ES7 193-6AR00-0AA0 |  |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | GSD device_6 | Port 2 (2xRJ45) | 6ES7 193-6AR00-0AA0 |  |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | GSD device_6 | TOSA | 6ES7 158-3AD10-0XA0 | 4.2 |  | Active Product | SIMATIC PN/PN Coupler for deterministic data exchange between max.4 PN-Controller per subnet, also from subnet to subnet, PROFIsafe data exchange, I/O-, MSI-, MSO- and data record communication, redundant power supply, PN-connection via SIMATIC BusAdapter (BA), delivery w/o BusAdapter | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7158-3AD10-0XA0?tree=CatalogTree
2026-03-26 21:12:22 | tia18 | CA07P23 Paletizacia MANEX-Mondelez_303RM3 | S7-1500/ET200MP station_1 | PLC_RM3 | 6ES7 516-3FN02-0AB0 | 2.9 |  | Prod. Cancellation | *** spare part *** SIMATIC S7-1500F, CPU 1516F-3 PN/DP, central processing unit with work memory 1.5 MB for program and 5 MB for data, 1st interface: PROFINET IRT with 2-port switch, 2nd interface: PROFINET RT, 3rd interface: PROFIBUS, 10 ns bit performance, SIMATIC Memory Card required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7516-3FN02-0AB0?tree=CatalogTree