## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | =A50 K1 8DI | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | =A50 K2 8DI | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | =A50 K3 8DI | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | =A50 K4 8DI | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | =A50 K5 8DO | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | =A50 K6 8DO | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | ORBIT_PLC | 6ES7 512-1DK01-0AB0 | 2.8 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP-1 PN for ET 200SP, central processing unit with work memory 200 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1DK01-0AB0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_1 | Server module | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K1 8DI | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K10 8DO | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K11 4xAI RTD | 6ES7 134-6JD00-0CA1 | 2.1 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 4xRTD/TC High Feature, suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1%, 2-/3-/4-wire | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6JD00-0CA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K15 4AO | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K16 4AO | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K2 8DO | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K3 4RO | 6ES7 132-6HD01-0BB1 | 0.0 |  | Active Product | SIMATIC ET 200SP, Relay module, RQ NO 4x 120V DC..230VAC/5A ST. 4 normally open contacts, isolated contacts, packing unit: 1 piece, fits to BU-type B0 and B1, Colour Code CC40, substitute value output, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6HD01-0BB1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K4 4AI | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K5 4AI | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K6 4AI | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K7 4AI | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K8 4AO | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | =A51 K9 8DI | 6ES7 131-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0BA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | External_IO | 6ES7 155-6AU01-0BN0 | 4.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Standard, max. 32 I/O modules, and 16 ET 200AL modules, single hot swap, incl. server module (6ES7193-6PA00-0AA0) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU01-0BN0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ET 200SP station_2 | Server module | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | ORBIT_HMI | ORBIT_HMI | 6AV2 124-0MC01-0AX0 | 16.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0MC01-0AX0?tree=CatalogTree
2026-03-26 21:21:44 | tia18 | CM05P20 Temperirka Aasted Orbit-6464_03_0001_ORBIT_V1_15 | SINAMICS G_1 | MASS_PUMP | 6SL3210-1KE17-5AF1 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 3,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 2,2kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X200(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE17-5AF1?tree=CatalogTree