## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | AI 4xU/I 2-wire ST_1 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | AI 8xRTD/TC 2-wire HF_1 | 6ES7 134-6JF00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 8xRTD/TC 2-wire High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6JF00-0CA1?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | AQ 4xU/I ST_1 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | DI 16x24VDC ST_2 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 16x 24VDC/0.5A Standard, suitable for BU type A0, Color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH00-0BA0?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | MSV500_CPU | 6ES7 510-1DJ01-0AB0 | 2.8 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1510SP-1 PN for ET 200SP, central processing unit with work memory 100 KB for program and 750 KB for data, 1st interface: PROFINET IRT with 3-port switch, 72 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7510-1DJ01-0AB0?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | PROFINET BusAdapter CU | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:23:52 | tia18 | CS04P22 Temperirka Sollich MSV500-Temperirka_MSV500_V18 | MSV500_HMI | MSV500_HMI | 6AV2 124-0GC01-0AX0 | 16.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP700 Comfort, Comfort Panel, touch operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0GC01-0AX0?tree=CatalogTree