## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | AI 4xI 2-/4-wire ST_1 | 6ES7 134-6GD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GD01-0BA1?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | AQ 4xU/I ST_1 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | DI 16x24VDC ST_2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | DQ 8x24VDC/0.5A BA_1 | 6ES7 132-6BF01-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Basic, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | Hutt-CHT2 | 6ES7 510-1DK03-0AB0 | 3.0 |  | Active Product | SIMATIC DP, CPU 1510SP-1 PN for ET 200SP, central processing unit with 200 KB work memory for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 6 ns bit performance, including server module (6ES7193-6PA00-0AA0); SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7510-1DK03-0AB0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_2 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_2 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_2 | DQ 16x24VDC/0.5A BA_1 | 6ES7 132-6BH00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, digital output module, DQ 16x 24VDC/0.5A Basic, Pack quantity: 1 unit, suitable for BU type A0, Color code CC00, Module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH00-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_2 | IO_CHT1 | 6ES7 155-6AR00-0AN0 | 3.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Basic, Max. 12 I/O modules, 2x integrated RJ45 sockets incl. server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AR00-0AN0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_2 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_3 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_3 | DI 8x24VDC BA_1 | 6ES7 131-6BF01-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Basic, type 2 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF01-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_3 | DQ 8x24VDC/0.5A BA_1 | 6ES7 132-6BF01-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Basic, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_3 | IO_CP2 | 6ES7 155-6AR00-0AN0 | 3.2 |  | Phase Out Announce | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Basic, Max. 12 I/O modules, 2x integrated RJ45 sockets incl. server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AR00-0AN0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | ET 200SP station_3 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | Hutt-TP700 | Hutt-TP700 | 6AV2 124-0GC01-0AX0 | 17.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP700 Comfort, Comfort Panel, touch operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0GC01-0AX0?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | SCALANCE XB-200 | hutt-cht1-xb208 | 6GK5 208-0BA00-2AB2 | 4.3 |  | Active Product | SCALANCE XB208 managed Layer 2 IE switch 8x 10/100 Mbit/s RJ45 ports 1x console port; diagnostics LED redundant power supply IEC 62443-4-2 certified; temperature range 0 °C to +60 °C; DIN-rail mounting; default PROFINET. | https://sieportal.siemens.com/en-ww/products-services/detail/6GK5208-0BA00-2AB2?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | SINAMICS G_3 | Hutt-cht1-gf1 | 6SL3210-1KE15-8AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 2,2kW at 150% 3s, 110% 57s, 100% 240s high overload: 1,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE15-8AF2?tree=CatalogTree
2026-03-26 21:26:41 | tia18 | HU04P22 Chladiace tunely-Hutt_chlad_tunely | SINAMICS G_4 | Hutt-cht1-gf2 | 6SL3210-1KE15-8AF2 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 2,2kW at 150% 3s, 110% 57s, 100% 240s high overload: 1,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE15-8AF2?tree=CatalogTree