## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:27:59 | tia18 | HU11P22 Z-mixery-Z-mixery | SINAMICS G_1 | PM240-2 IP20 | 6SL3210-1PE22-7ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE22-7ALx?tree=CatalogTree
2026-03-26 21:27:59 | tia18 | HU11P22 Z-mixery-Z-mixery | SINAMICS G_1 | Z-mixer1-G120 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:27:59 | tia18 | HU11P22 Z-mixery-Z-mixery | SINAMICS G_2 | PM240-2 IP20 | 6SL3210-1PE22-7ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE22-7ALx?tree=CatalogTree
2026-03-26 21:27:59 | tia18 | HU11P22 Z-mixery-Z-mixery | SINAMICS G_2 | Z-mixer2-G120 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:27:59 | tia18 | HU11P22 Z-mixery-Z-mixery | Z-mixer1-KTP400 | Z-mixer1-KTP400 | 6AV2 123-2DB03-0AX0 | 17.0.0.0 |  | Active Product | SIMATIC HMI, KTP400 Basic, Basic Panel, Key/touch operation, 4" TFT display, 65536 colors, PROFINET interface, configurable from WinCC Basic V13/ STEP 7 Basic V13, contains open-source software, which is provided free of charge see enclosed CD | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2123-2DB03-0AX0?tree=CatalogTree
2026-03-26 21:27:59 | tia18 | HU11P22 Z-mixery-Z-mixery | Z-mixer2-KTP400 | Z-mixer2-KTP400 | 6AV2 123-2DB03-0AX0 | 17.0.0.0 |  | Active Product | SIMATIC HMI, KTP400 Basic, Basic Panel, Key/touch operation, 4" TFT display, 65536 colors, PROFINET interface, configurable from WinCC Basic V13/ STEP 7 Basic V13, contains open-source software, which is provided free of charge see enclosed CD | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2123-2DB03-0AX0?tree=CatalogTree