## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | HMI-TP1200-RW2 | HMI-TP1200-RW2 | 6AV2 124-0MC01-0AX0 | 17.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0MC01-0AX0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2/4AI x RTD ST_1 | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2/4AI x RTD ST_2 | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2/4AI x RTD ST_3 | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2/4AI x RTD ST_4 | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2/4AI x RTD ST_5 | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2/4AI x RTD ST_6 | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2/4AI x RTD ST_7 | 6ES7 134-4JB51-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module for ET 200S, 2/4 AI RTD Standard, 15 mm width, 15 bit+sign Pt100 STD; Pt100 KL; NI100 STD; NI100 KL; 150 ohm; 300 ohm; 600 ohm; Cycle time 110 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4JB51-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2AI x I 2WIRE ST_1 | 6ES7 134-4GB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-2DMU 15 mm width, 4.. 20mA; 13 bit for 2-wire transducer Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB01-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2AI x I 4WIRE ST_1 | 6ES7 134-4GB11-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-4DMU 15 mm width, +/-20mA; 13 bit+sign 4.. 20mA; 12-bit for 4-wire transmitter Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB11-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2AI x I 4WIRE ST_2 | 6ES7 134-4GB11-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-4DMU 15 mm width, +/-20mA; 13 bit+sign 4.. 20mA; 12-bit for 4-wire transmitter Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB11-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2AI x I 4WIRE ST_3 | 6ES7 134-4GB11-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-4DMU 15 mm width, +/-20mA; 13 bit+sign 4.. 20mA; 12-bit for 4-wire transmitter Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB11-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2AI x I 4WIRE ST_4 | 6ES7 134-4GB11-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module f. ET200S, 2AI Standard I-4DMU 15 mm width, +/-20mA; 13 bit+sign 4.. 20mA; 12-bit for 4-wire transmitter Cycle time 65 ms/channel with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-4GB11-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2AO x I HF_1 | 6ES7 135-4MB02-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, Electronics module 2 AO I High Feature for ET 200S, 15 mm width, Cycle time per module: 0.5 ms, +/-20mA; 15 bit+sign, 4.. 20mA; 15 bits Operational limit +/-0.05% with SF LED (group fault) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-4MB02-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2RO x NO 24/230V / 5A_1 | 6ES7 132-4HB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 2 DO relay 24 V DC-230 V AC/5 A, 15 mm width, Substitute value output with LED SF (group fault) 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB01-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2RO x NO 24/230V / 5A_2 | 6ES7 132-4HB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 2 DO relay 24 V DC-230 V AC/5 A, 15 mm width, Substitute value output with LED SF (group fault) 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB01-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2RO x NO 24/230V / 5A_3 | 6ES7 132-4HB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 2 DO relay 24 V DC-230 V AC/5 A, 15 mm width, Substitute value output with LED SF (group fault) 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB01-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2RO x NO 24/230V / 5A_4 | 6ES7 132-4HB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 2 DO relay 24 V DC-230 V AC/5 A, 15 mm width, Substitute value output with LED SF (group fault) 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB01-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 2RO x NO 24/230V / 5A_5 | 6ES7 132-4HB01-0AB0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 2 DO relay 24 V DC-230 V AC/5 A, 15 mm width, Substitute value output with LED SF (group fault) 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4HB01-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_1 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_10 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_11 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_12 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_13 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_14 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_15 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_16 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_17 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_18 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_19 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_2 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_20 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_21 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_22 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_23 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_3 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_4 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_5 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_6 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_7 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_8 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DI x DC24V ST_9 | 6ES7 131-4BD01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4DI standard 24 V DC, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BD01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_1 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_2 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_3 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_4 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_5 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_6 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_7 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_8 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 4DO x DC24V / 0,5A ST_9 | 6ES7 132-4BD02-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, 5 electronic modules for ET 200S, 4 DO standard 24 V DC/0.5 A, 15 mm width, 5 units per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BD02-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 8DI x DC24V_1 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 8DI x DC24V_2 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 8DI x DC24V_3 | 6ES7 131-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-4BF00-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | 8DO x DC24V / 0,5A_1 | 6ES7 132-4BF00-0AA0 |  |  | Prod. Cancellation | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-4BF00-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | PM-E DC24V_1 | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | PM-E DC24V_2 | 6ES7 138-4CA01-0AA0 |  |  | Prod. Cancellation | *** Spare part *** SIMATIC DP, PM-E power modules for ET 200S; 24 V DC with diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7138-4CA01-0AA0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | IDCT1-10-PLC | PN-CPU151-8-RW2 | 6ES7 151-8AB01-0AB0 | 3.2 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, IM151-8 PN/DP CPU for ET200S, 192 KB work memory, int. PROFINET interface (with three RJ45 ports) as IO Controller,without battery MMC required | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-8AB01-0AB0?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS G_1 | sila20m1 | 6SL3210-1KE21-7AF1 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 7,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 5,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-7AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS G_2 | sila21m1 | 6SL3210-1KE21-7AF1 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 7,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 5,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-7AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS G_3 | sila22m1 | 6SL3210-1KE21-7AF1 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 7,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 5,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-7AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS G_4 | sila23m1 | 6SL3210-1KE21-7AF1 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 7,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 5,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-7AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS G_5 | sila24m1 | 6SL3210-1KE21-7AF1 | 4.7.13 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 7,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 5,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-7AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS-Pumpe1.09 | SINAMICS-Pumpe1.09 | 6SL3210-1KE23-2AF1 | 4.6 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 15,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 11,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSC 295x140x205 (HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE23-2AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS-Pumpe4.09 | SINAMICS-Pumpe4.09 | 6SL3210-1KE23-2AF1 | 4.5 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 15,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 11,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSC 295x140x205 (HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE23-2AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SINAMICS-Pumpe5.09 | SINAMICS-Pumpe5.09 | 6SL3210-1KE21-7AF1 | 4.6 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 7,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 5,5kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-7AF1?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_1 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_2 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_3 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_4 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_5 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_6 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_7 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | DS1-x_8 | 3RK1 301-xxB00-0AA2 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1301-xxB00-0AA2?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | PM-D DC24V_1 | 3RK1 903-0BA00 |  |  | Prod. Cancellation | PM-D for ET 200S Power module for starter 24 V DC | https://sieportal.siemens.com/en-ww/products-services/detail/3RK1903-0BA00?tree=CatalogTree
2026-03-26 21:33:48 | tia18 | SI03P7B Sila 20-24-BraR2V24 | SLAVE2-EHZ-RW2 | SLAVE2-EHZ-RW2 | 6ES7 151-3AA23-0AB0 | 7.0 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, interface module IM 151-3 PN ST for ET 200S transfer rate 100 Mbps max. 63 power, electronic or motor starter modules up to 2 m width can be connected; 2x bus connections via RJ45 incl. termination module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7151-3AA23-0AB0?tree=CatalogTree