## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_1 | sila25-s0 | 6ES7 510-1SJ01-0AB0 | 2.9 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1510SP F-1 PN for ET 200SP, central processing unit with work memory 150 KB for program and 750 KB for data, 1st interface: PROFINET IRT with 3-port switch, 72 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7510-1SJ01-0AB0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S10 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S11 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S12 | 6ES7 136-6DB00-0CA0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S13 | 6ES7 136-6DB00-0CA0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S14 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S15 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S16 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S17 | 6ES7 134-6GF00-0AA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 8XI 2-/4-wire Basic, suitable for BU type A0, A1, Color code CC01, Module diagnostics, 16 bit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GF00-0AA1?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S18 | 6ES7 134-6GF00-0AA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 8XI 2-/4-wire Basic, suitable for BU type A0, A1, Color code CC01, Module diagnostics, 16 bit | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6GF00-0AA1?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S19 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S4 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S5 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S6 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S7 | 6ES7 132-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 16x 24VDC/0.5A Standard, suitable for BU type A0, Color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH00-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S8 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | S9 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | ET 200SP station_2 | sila25-s0.1 | 6ES7 155-6AU00-0CN0 | 3.3 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, PROFINET interface module IM 155-6PN High Feature max. 64 I/O modules, 0.25 ms isochronous mode Multi-hotswap, incl. server module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7155-6AU00-0CN0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | sila25-33a1 | sila25-33a1 | 6AV2 124-0QC02-0AX1 | 17.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP1500 Comfort, Comfort Panel, touch operation, 15" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 24 MB configuration memory, WEC 2013, configurable as of WinCC Comfort V14 SP1 with HSP, ambient temperature up to 50 °C (up to 55 °C with restrictions) | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0QC02-0AX1?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | sila25-34a1 | sila25-34a1 | 6AV2 124-0QC13-0AX0 | 17.0.0.0 |  | Active Product | SIMATIC HMI TP1500 Comfort Outdoor, Comfort Panel, Touch operation, 15" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0 (Microsoft Support included Security updates discontinued) configurable from WinCC Comfort V13 SP1, HSP | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0QC13-0AX0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_1 | PM240-2 IP20 | 6SL3210-1PE22-7ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE22-7ALx?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_1 | sila25-204u1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_2 | PM240-2 IP20 | 6SL3210-1PE22-7ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE22-7ALx?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_2 | sila25-205u1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_3 | PM240-2 IP20 | 6SL3210-1PE22-7ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE22-7ALx?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_3 | sila25-206u1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_4 | PM240-2 IP20 | 6SL3210-1PE23-3ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE23-3ALx?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_4 | sila25-201u1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_5 | PM240-2 IP20 | 6SL3210-1PE22-7ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE22-7ALx?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_5 | sila25-202u1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_6 | PM240-2 IP20 | 6SL3210-1PE22-7ALx | - |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1PE22-7ALx?tree=CatalogTree
2026-03-26 21:42:58 | tia18 | SI04P7B Sila 25-27-MDL-22-62- Six-Chamber Tank | SINAMICS G_6 | sila25-203u1 | 6SL3244-0BB12-1FA0 | 4.7.13 |  | Active Product | SINAMICS G120 CONTROL UNIT CU240E-2 PN E-TYPE SAFETY INTEGRATED STO PROFINET 6DI, 3DO, 2AI, 2AO, MAX 1F-DI PTC/KTY INTERFACE USB- AND SD/MMC-INTERFACE PROTECTION IP20 AMBIENT TEMP 0 TO +50 DEG C WITHOUT POWER MODULE AND PANEL | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3244-0BB12-1FA0?tree=CatalogTree