## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | ET 200SP station_1 | AI 4xRTD/TC 2-,3-,4-wire HF_1 | 6ES7 134-6JD00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 4xRTD/TC High Feature, suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1%, 2-/3-/4-wire | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6JD00-0CA1?tree=CatalogTree
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | ET 200SP station_1 | AQ 4xU/I ST_1 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | ET 200SP station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | ET 200SP station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | ET 200SP station_1 | VZT-VH-CPU | 6ES7 510-1DJ01-0AB0 | 2.9 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1510SP-1 PN for ET 200SP, central processing unit with work memory 100 KB for program and 750 KB for data, 1st interface: PROFINET IRT with 3-port switch, 72 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7510-1DJ01-0AB0?tree=CatalogTree
2026-03-26 21:51:50 | tia18 | VH09P2B Vzduchotechnika pre VH-Valcovnu-MDLZ_vzduchotechnika_V18 | VZT-VH-HMI | VZT-VH-HMI | 6AV2 128-3MB06-0AXx | 18.0.0.0 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2128-3MB06-0AXx?tree=CatalogTree