## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 22:06:22 | tia19 | CY18P25 ZH406-CY18P25_ZH406 | HMI_1 | HMI | 6AV6 647-0AD11-3AX0 | 12.0.0.0 |  | Prod. Cancellation | *** spare part *** SIMATIC HMI KTP600 Basic Color PN, Basic Panel, key/touch operation, 6" TFT display, 256 colors, PROFINET interface, configurable as of WinCC flexible 2008 SP2 Compact/ WinCC Basic V10.5/ STEP 7 Basic V10.5, contains open-source software, which is provided free of charge see enclosed CD | https://sieportal.siemens.com/en-ww/products-services/detail/6AV6647-0AD11-3AX0?tree=CatalogTree
2026-03-26 22:06:22 | tia19 | CY18P25 ZH406-CY18P25_ZH406 | S7-1200 station_1 | AI 4x13BIT_1 | 6ES7 231-4HF32-0XB0 | 2.0 |  | Active Product | SIMATIC S7-1200, Analog input, SM 1231, 8 AI, +/-10 V, +/-5 V, +/-2.5 V, or 0-20 mA/4-20 mA, 12 bit+sign or (13 bit ADC) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7231-4HF32-0XB0?tree=CatalogTree
2026-03-26 22:06:22 | tia19 | CY18P25 ZH406-CY18P25_ZH406 | S7-1200 station_1 | AQ 4x14BIT_1 | 6ES7 232-4HD32-0XB0 | 2.0 |  | Active Product | SIMATIC S7-1200, Analog output, SM 1232, 4 AO, +/-10 V, 14-bit resolution, or 0-20 mA/4-20 mA, 13-bit resolution | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7232-4HD32-0XB0?tree=CatalogTree
2026-03-26 22:06:22 | tia19 | CY18P25 ZH406-CY18P25_ZH406 | S7-1200 station_1 | Battery board_1 | 6ES7 297-0AX30-0XA0 | 1.0 |  | Active Product | SIMATIC S7-1200, Battery Board BB 1297 for long-term buffering of the real time clock, plug-in in the signal board receptacle of the S7-12XX (FW3.0 or higher); Battery (CR1025) not included in scope of delivery | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7297-0AX30-0XA0?tree=CatalogTree
2026-03-26 22:06:22 | tia19 | CY18P25 ZH406-CY18P25_ZH406 | S7-1200 station_1 | DI 8/DQ 8x24VDC_1 | 6ES7 223-1BH32-0XB0 | 2.0 |  | Active Product | SIMATIC S7-1200, Digital I/O SM 1223, 8 DI/8 DO, 8 DI 24 V DC, Sink/Source, 8 DO, transistor 0.5 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7223-1BH32-0XB0?tree=CatalogTree
2026-03-26 22:06:22 | tia19 | CY18P25 ZH406-CY18P25_ZH406 | S7-1200 station_1 | PLC_1 | 6ES7 214-1AG40-0XB0 | 4.0 |  | Active Product | SIMATIC S7-1200, CPU 1214C, compact CPU, DC/DC/DC, onboard I/O: 14 DI 24 V DC; 10 DO 24 V DC; 2 AI 0-10 V DC, power supply: DC 20.4-28.8 V DC, program/data memory 150 KB | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7214-1AG40-0XB0?tree=CatalogTree