## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 22:07:37 | tia19 | FL11P23 Temperirka Rasch-FL11P23 Temperirka Rasch | rasch-HMI | KTP600 Basic color PN | 6AV6 647-0AD11-3AX0 | 12.0.0.0 |  | Prod. Cancellation | *** spare part *** SIMATIC HMI KTP600 Basic Color PN, Basic Panel, key/touch operation, 6" TFT display, 256 colors, PROFINET interface, configurable as of WinCC flexible 2008 SP2 Compact/ WinCC Basic V10.5/ STEP 7 Basic V10.5, contains open-source software, which is provided free of charge see enclosed CD | https://sieportal.siemens.com/en-ww/products-services/detail/6AV6647-0AD11-3AX0?tree=CatalogTree
2026-03-26 22:07:37 | tia19 | FL11P23 Temperirka Rasch-FL11P23 Temperirka Rasch | SIMATIC 1200 station_1 | AI4 x RTD_1 | 6ES7 231-5PD30-0XB0 | 1.0 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC S7-1200, Analog input, SM 1231 RTD, 4xAI RTD module | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7231-5PD30-0XB0?tree=CatalogTree
2026-03-26 22:07:37 | tia19 | FL11P23 Temperirka Rasch-FL11P23 Temperirka Rasch | SIMATIC 1200 station_1 | DI2/DQ2 x 24VDC_1 | 6ES7 223-0BD30-0XB0 | 1.0 |  | Active Product | SIMATIC S7-1200, Digital I/O SB 1223, 2 DI/2 DO, 2 DI 24 V DC/2 DO 24 V DC | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7223-0BD30-0XB0?tree=CatalogTree
2026-03-26 22:07:37 | tia19 | FL11P23 Temperirka Rasch-FL11P23 Temperirka Rasch | SIMATIC 1200 station_1 | DI8/DQ8 x 24VDC_1 | 6ES7 223-1BH30-0XB0 | 1.0 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC S7-1200, Digital I/O SM 1223, 8 DI/8 DO, 8 DI 24 V DC, Sink/Source, 8 DO, transistor 0.5 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7223-1BH30-0XB0?tree=CatalogTree
2026-03-26 22:07:37 | tia19 | FL11P23 Temperirka Rasch-FL11P23 Temperirka Rasch | SIMATIC 1200 station_1 | DI8/DQ8 x 24VDC_2 | 6ES7 223-1BH30-0XB0 | 1.0 |  | End Prod.Lifecycl. | ***Spare part*** SIMATIC S7-1200, Digital I/O SM 1223, 8 DI/8 DO, 8 DI 24 V DC, Sink/Source, 8 DO, transistor 0.5 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7223-1BH30-0XB0?tree=CatalogTree
2026-03-26 22:07:37 | tia19 | FL11P23 Temperirka Rasch-FL11P23 Temperirka Rasch | SIMATIC 1200 station_1 | rasch-s7-1214 | 6ES7 214-1AG40-0XB0 | 4.1 |  | Active Product | SIMATIC S7-1200, CPU 1214C, compact CPU, DC/DC/DC, onboard I/O: 14 DI 24 V DC; 10 DO 24 V DC; 2 AI 0-10 V DC, power supply: DC 20.4-28.8 V DC, program/data memory 150 KB | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7214-1AG40-0XB0?tree=CatalogTree