## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | AI 4xU/I 2-wire ST_1 | 6ES7 134-6HD01-0BA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XU/I 2-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD01-0BA1?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | AI 8xRTD/TC 2-wire HF_1 | 6ES7 134-6JF00-0CA1 | 2.0 |  | Active Product | SIMATIC ET 200SP, Analog input module, AI 8xRTD/TC 2-wire High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6JF00-0CA1?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | AQ 4xU/I ST_1 | 6ES7 135-6HD00-0BA1 | 1.1 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HD00-0BA1?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 16X 24 V DC Standard, suitable for BU type A0, color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH00-0BA0?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 16x 24VDC/0.5A Standard, suitable for BU type A0, Color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH00-0BA0?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | MSV1500_CPU | 6ES7 510-1DJ01-0AB0 | 2.9 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1510SP-1 PN for ET 200SP, central processing unit with work memory 100 KB for program and 750 KB for data, 1st interface: PROFINET IRT with 3-port switch, 72 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7510-1DJ01-0AB0?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | PROFINET BusAdapter CU | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | MSV1500_HMI | MSV1500_HMI | 6AV2 128-3MB06-0AXx | 19.0.0.2 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2128-3MB06-0AXx?tree=CatalogTree
2026-03-26 22:15:03 | tia19 | LS09P21 Temperirka MSV1580-MSV1500-A2_LOESCH_V19 | SINAMICS G_1 | MSV1500_M10 | 6SL3210-1KE14-3AF2 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 1,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 1,1kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE14-3AF2?tree=CatalogTree