## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 22:17:23 | tia19 | LS22P21 ZH116-ZH116 | SIMATIC 1200 station_1 | AI4 x 13 bits_1 | 6ES7 231-4HD32-0XB0 | 2.0 |  | Active Product | SIMATIC S7-1200, Analog input, SM 1231, 4 AI, +/-10 V, +/-5 V, +/-2.5 V, or 0-20 mA/4-20 mA, 12 bit+sign (13 bit ADC) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7231-4HD32-0XB0?tree=CatalogTree
2026-03-26 22:17:23 | tia19 | LS22P21 ZH116-ZH116 | SIMATIC 1200 station_1 | DI8 x 24VDC_1 | 6ES7 221-1BF32-0XB0 | 2.0 |  | Active Product | SIMATIC S7-1200, Digital input SM 1221, 8 DI, 24 V DC, Sink/Source | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7221-1BF32-0XB0?tree=CatalogTree
2026-03-26 22:17:23 | tia19 | LS22P21 ZH116-ZH116 | SIMATIC 1200 station_1 | DI8/DQ8 x 24VDC_1 | 6ES7 223-1BH32-0XB0 | 2.0 |  | Active Product | SIMATIC S7-1200, Digital I/O SM 1223, 8 DI/8 DO, 8 DI 24 V DC, Sink/Source, 8 DO, transistor 0.5 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7223-1BH32-0XB0?tree=CatalogTree
2026-03-26 22:17:23 | tia19 | LS22P21 ZH116-ZH116 | SIMATIC 1200 station_1 | ZH116-PLC | 6ES7 215-1AG40-0XB0 | 4.2 |  | Active Product | SIMATIC S7-1200, CPU 1215C, compact CPU, DC/DC/DC, 2 PROFINET ports, onboard I/O: 14 DI 24 V DC; 10 DO 24 V DC; 0.5 A; 2 AI 0-10 V DC, 2 AO 0-20 mA DC, power supply: DC 20.4-28.8 V DC, program/data memory 200 KB | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7215-1AG40-0XB0?tree=CatalogTree
2026-03-26 22:17:23 | tia19 | LS22P21 ZH116-ZH116 | ZH116-HMI | HMI | 6AV6 647-0AA11-3AX0 | 12.0.0.0 |  | Prod. Cancellation | *** spare part *** SIMATIC HMI KTP400 Basic mono PN, Basic Panel, key/touch operation, 4" STN display, 4 gray levels, PROFINET interface, configurable as of WinCC flexible 2008 SP2 Compact/ WinCC Basic V10.5/ STEP 7 Basic V10.5, contains open-source software, which is provided free of charge see enclosed CD | https://sieportal.siemens.com/en-ww/products-services/detail/6AV6647-0AA11-3AX0?tree=CatalogTree