## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 22:29:04 | tia19 | UT23P30 DieselAgregat-DieselAgregat | DieselAgregat-HMI | DieselAgregat-HMI | 6AV2 124-0GC01-0AX0 | 17.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP700 Comfort, Comfort Panel, touch operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0GC01-0AX0?tree=CatalogTree
2026-03-26 22:29:04 | tia19 | UT23P30 DieselAgregat-DieselAgregat | ET 200SP station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 22:29:04 | tia19 | UT23P30 DieselAgregat-DieselAgregat | ET 200SP station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 22:29:04 | tia19 | UT23P30 DieselAgregat-DieselAgregat | ET 200SP station_1 | DI 16x24VDC ST_2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 22:29:04 | tia19 | UT23P30 DieselAgregat-DieselAgregat | ET 200SP station_1 | DieselAgregat-CPU | 6ES7 510-1DK03-0AB0 | 3.1 |  | Active Product | SIMATIC DP, CPU 1510SP-1 PN for ET 200SP, central processing unit with 200 KB work memory for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 6 ns bit performance, including server module (6ES7193-6PA00-0AA0); SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7510-1DK03-0AB0?tree=CatalogTree
2026-03-26 22:29:04 | tia19 | UT23P30 DieselAgregat-DieselAgregat | ET 200SP station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH00-0BA0 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital output module, DQ 16x 24VDC/0.5A Standard, suitable for BU type A0, Color code CC00, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH00-0BA0?tree=CatalogTree
2026-03-26 22:29:04 | tia19 | UT23P30 DieselAgregat-DieselAgregat | ET 200SP station_1 | Server module_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree