## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | _SFLF_Standard | 6ES7 512-1SK01-0AB0 | 2.1 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP F-1 PN for ET 200SP, central processing unit with work memory 300 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1SK01-0AB0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | AI 4xU/I 2-wire ST_1 | 6ES7 134-6HD00-0BA1 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, analog input module, AI 4XU/I 2-wire Standard, suitable for BU type A0, A1, Color code CC03, Module diagnostics, 16 bit, +/-0.3% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7134-6HD00-0BA1?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | AQ 2xU/I HF_1 | 6ES7 135-6HB00-0CA1 | 1.0 |  | Active Product | SIMATIC ET 200SP, Analog output module, AQ 2x U/I High Feature suitable for BU type A0, A1, Color code CC00, channel diagnostics, 16 bit, +/-0.1% | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7135-6HB00-0CA1?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | DI 8x24VDC BA_1 | 6ES7 131-6BF00-0AA0 | 1.0 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Basic, packing quantity: 1 unit, suitable for BU type A0, color code CC01, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0AA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | DI 8x24VDC BA_2 | 6ES7 131-6BF00-0AA0 | 1.0 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Basic, packing quantity: 1 unit, suitable for BU type A0, color code CC01, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0AA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | DI 8x24VDC BA_3 | 6ES7 131-6BF00-0AA0 | 1.0 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Basic, packing quantity: 1 unit, suitable for BU type A0, color code CC01, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0AA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | DI 8x24VDC BA_4 | 6ES7 131-6BF00-0AA0 | 1.0 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, digital input module, DI 8x 24 V DC Basic, packing quantity: 1 unit, suitable for BU type A0, color code CC01, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BF00-0AA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | DQ 8x24VDC/0.5A ST_1 | 6ES7 132-6BF01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BF01-0BA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | F-DI 8x24VDC HF_1 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | F-DQ 4x24VDC/2A PM HF_1 | 6ES7 136-6DB00-0CA0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | F-RQ 1x24..48VDC/24..230VAC/5A_1 | 6ES7 136-6RA00-0BF0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module f. ET200SP, F-RQ 1x 24 V DC/24..230VAC/5A ST, 20 mm overall width, 1 relay output (2 NO) Summation output current 5 A, load voltage 24 V DC and 24.. 230 V AC, Can be used up to PL E (ISO 13849-1: 2008)/ SIL 3 (IEC 61508: 2010) if control takes place by (e.g. 6ES7136-6DB00-0CA0) F-DQ | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6RA00-0BF0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | F-RQ 1x24..48VDC/24..230VAC/5A_2 | 6ES7 136-6RA00-0BF0 | 1.0 |  | Active Product | SIMATIC DP, Electronics module f. ET200SP, F-RQ 1x 24 V DC/24..230VAC/5A ST, 20 mm overall width, 1 relay output (2 NO) Summation output current 5 A, load voltage 24 V DC and 24.. 230 V AC, Can be used up to PL E (ISO 13849-1: 2008)/ SIL 3 (IEC 61508: 2010) if control takes place by (e.g. 6ES7136-6DB00-0CA0) F-DQ | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6RA00-0BF0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | PROFINET BusAdapter CU | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | RQ 4x120VDC/230VAC/5A NO ST_1 | 6ES7 132-6HD00-0BB1 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, relay module normally open, RQ 4x120 V DC..230 V AC/5 A Standard suitable for BU type B0 or B1, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6HD00-0BB1?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | RQ 4x120VDC/230VAC/5A NO ST_2 | 6ES7 132-6HD00-0BB1 | 1.1 |  | End Prod.Lifecycl. | *** Spare part *** SIMATIC ET 200SP, relay module normally open, RQ 4x120 V DC..230 V AC/5 A Standard suitable for BU type B0 or B1, module diagnostics | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6HD00-0BB1?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | ET 200SP-Station_2 | Servermodul_1 | 6ES7 193-6PA00-0AA0 | 1.0 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56611 DIO8 E 4xM12_1 | 56611 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56611?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56611 DIO8 E 4xM12_2 | 56611 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56611?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56611 DIO8 E 4xM12_3 | 56611 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56611?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56650xx DO8 C Valve(9) K3_1 | 56650xx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56650xx?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56650xx DO8 C Valve(9) K3_2 | 56650xx |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56650xx?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56655 DO8 E Valve_1 | 56655 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56655?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56721 AO4 E 4xM12 (I)_1 | 56721 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56721?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56731 AI4 E 4xM12 (I)_1 | 56731 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56731?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56731 AI4 E 4xM12 (I)_2 | 56731 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56731?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56731 AI4 E 4xM12 (I)_3 | 56731 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56731?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56731 AI4 E 4xM12 (I)_4 | 56731 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56731?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56731 AI4 E 4xM12 (I)_5 | 56731 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56731?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | 56731 AI4 E 4xM12 (I)_7 | 56731 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56731?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_1 | Cube67-BN-PNIO | 56526 | 1 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/56526?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_2 | mm710e01 | NDCPRT | 1.0.0 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/NDCPRT?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_3 | MVK-MPNIO-F | 55556 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/55556?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | GSD-Geraet_4 | MVK-MPNIO-F_1 | 55557 |  |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/55557?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | PAC3200 | PAC3200 | 7KM211x-xBA00-xAA0 | 2.4 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/7KM211x-xBA00-xAA0?tree=CatalogTree
2026-03-26 22:44:04 | tia19 | VH04P20 5-valec 2 L1-VH04P20_5V2_L1 | PAC3200 | PROFINET interface_1 | 7KM9300-0AE01-0AA0 | 2.1 |  | Prod. Cancellation | expansion module switched Ethernet PROFINET, plug-in, for 7KM PAC3200 / 4200 / 3VA COM100 / 800 | https://sieportal.siemens.com/en-ww/products-services/detail/7KM9300-0AE01-0AA0?tree=CatalogTree