## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 23:06:47 | tia19 | VH14P20 ZS002-VH14P20 ZS002 | S7-1200 station_1 | AI 4x13BIT_1 | 6ES7 231-4HD32-0XB0 | 2.1 |  | Active Product | SIMATIC S7-1200, Analog input, SM 1231, 4 AI, +/-10 V, +/-5 V, +/-2.5 V, or 0-20 mA/4-20 mA, 12 bit+sign (13 bit ADC) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7231-4HD32-0XB0?tree=CatalogTree
2026-03-26 23:06:47 | tia19 | VH14P20 ZS002-VH14P20 ZS002 | S7-1200 station_1 | AI 4x13BIT_2 | 6ES7 231-4HD32-0XB0 | 2.1 |  | Active Product | SIMATIC S7-1200, Analog input, SM 1231, 4 AI, +/-10 V, +/-5 V, +/-2.5 V, or 0-20 mA/4-20 mA, 12 bit+sign (13 bit ADC) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7231-4HD32-0XB0?tree=CatalogTree
2026-03-26 23:06:47 | tia19 | VH14P20 ZS002-VH14P20 ZS002 | S7-1200 station_1 | DI 8/DQ 8x24VDC_1 | 6ES7 223-1BL32-0XB0 | 2.0 |  | Active Product | SIMATIC S7-1200, Digital I/O SM 1223, 16 DI/16 DO, 16 DI 24 V DC, Sink/Source, 16 DO, transistor 0.5 A | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7223-1BL32-0XB0?tree=CatalogTree
2026-03-26 23:06:47 | tia19 | VH14P20 ZS002-VH14P20 ZS002 | S7-1200 station_1 | ZS002-CPU | 6ES7 215-1AG40-0XB0 | 4.5 |  | Active Product | SIMATIC S7-1200, CPU 1215C, compact CPU, DC/DC/DC, 2 PROFINET ports, onboard I/O: 14 DI 24 V DC; 10 DO 24 V DC; 0.5 A; 2 AI 0-10 V DC, 2 AO 0-20 mA DC, power supply: DC 20.4-28.8 V DC, program/data memory 200 KB | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7215-1AG40-0XB0?tree=CatalogTree
2026-03-26 23:06:47 | tia19 | VH14P20 ZS002-VH14P20 ZS002 | SINAMICS G_1 | ZS002-GF1 | 6SL3210-1KE21-3AF1 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 5,5kW at 150% 3s, 110% 57s, 100% 240s high overload: 4,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSB 196X100X203(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE21-3AF1?tree=CatalogTree
2026-03-26 23:06:47 | tia19 | VH14P20 ZS002-VH14P20 ZS002 | ZS002-HMI | ZS002-HMI | 6AV2 123-2GB03-0AX0 | 17.0.0.0 |  | Active Product | SIMATIC HMI, KTP700 Basic, Basic Panel, Key/touch operation, 7" TFT display, 65536 colors, PROFINET interface, configurable from WinCC Basic V13/ STEP 7 Basic V13, contains open-source software, which is provided free of charge see enclosed CD | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2123-2GB03-0AX0?tree=CatalogTree