## Devices
Timestamp | Group | Project | Device | DeviceItem | OrderNumber | Firmware | Image | Lifecycle | Description | URL
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | dopr-hmot-l1-op | dopr-hmot-l1-op | 6AV2 124-0JC01-0AX0 | 16.0.0.0 |  | Phase Out Announce | SIMATIC HMI TP900 Comfort, Comfort Panel, touch operation, 9" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | https://sieportal.siemens.com/en-ww/products-services/detail/6AV2124-0JC01-0AX0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | DI 16x24VDC ST_2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | DI 16x24VDC ST_3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | DI 16x24VDC ST_4 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | DI 16x24VDC ST_5 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | dopr-hmot-l1-cpu | 6ES7 512-1SK01-0AB0 | 2.8 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP F-1 PN for ET 200SP, central processing unit with work memory 300 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1SK01-0AB0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | DQ 16x24VDC/0.5A ST_2 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | F-DI 8x24VDC HF_1 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | F-DI 8x24VDC HF_2 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | F-DI 8x24VDC HF_3 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | F-DQ 4x24VDC/2A PM HF_1 | 6ES7 136-6DB00-0CA0 | 2.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_1 | Servermodul_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | BA 2xRJ45 | 6ES7 193-6AR00-0AA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6AR00-0AA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DI 16x24VDC ST_1 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DI 16x24VDC ST_2 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DI 16x24VDC ST_3 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DI 16x24VDC ST_4 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DI 16x24VDC ST_5 | 6ES7 131-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital input module, DI 16x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 Piece, fits to BU-type A0, Colour Code CC00, input delay time 0,05..20ms, diagnostics wire break, diagnostics supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7131-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | dopr-hmot-l2-cpu | 6ES7 512-1SK01-0AB0 | 2.8 |  | Prod. Cancellation | *** spare part *** SIMATIC DP, CPU 1512SP F-1 PN for ET 200SP, central processing unit with work memory 300 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 3-port switch, 48 ns bit performance, SIMATIC Memory Card required, BusAdapter required for port 1 and 2 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7512-1SK01-0AB0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DP-Schnittstelle_1 | 6ES7 545-5DA00-0AB0 |  |  | Active Product | SIMATIC DP, CM PROFIBUS DP for ET 200SP CPU module with PROFIBUS DP interface (9-pole D-sub socket) DP master for 125 DP slaves DP slave, | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7545-5DA00-0AB0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DQ 16x24VDC/0.5A ST_1 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | DQ 16x24VDC/0.5A ST_2 | 6ES7 132-6BH01-0BA0 | 0.0 |  | Active Product | SIMATIC ET 200SP, Digital output module, DQ 16x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC00, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7132-6BH01-0BA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | F-DI 8x24VDC HF_1 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | F-DI 8x24VDC HF_2 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | F-DI 8x24VDC HF_3 | 6ES7 136-6BA00-0CA0 | 1.0 |  | Prod. Cancellation | ***spare part*** SIMATIC DP, electronic module for ET 200SP, F-DI 8x 24 V DC HF, 15 mm width, up to PL e (ISO 13849-1)/ SIL3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6BA00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | F-DQ 4x24VDC/2A PM HF_1 | 6ES7 136-6DB00-0CA0 | 2.0 |  | Active Product | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508) | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7136-6DB00-0CA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | ET 200SP-Station_2 | Servermodul_1 | 6ES7 193-6PA00-0AA0 | 1.1 |  | Active Product | SIMATIC ET 200SP, spare part Server module for ET 200SP | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7193-6PA00-0AA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | l2-mixer | l2-mixer | 6ES7 158-0AD01-0XA0 | B0 |  | Active Product | SIMATIC DP, DP/DP coupler coupling module for connecting two PROFIBUS DP networks redundant current infeed; product phase-out planned – see SIOS 109989704 | https://sieportal.siemens.com/en-ww/products-services/detail/6ES7158-0AD01-0XA0?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | mlyny-dt3-vcu20100 | DISOCONT Tersus TPS-1 | V097103.B01 | 13.00.00 |  |  |  | https://sieportal.siemens.com/en-ww/products-services/detail/V097103.B01?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | SINAMICS G_1 | dopr-hmot-l1-525m1 | 6SL3210-1KE18-8AF1 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 4,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 3,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X200(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE18-8AF1?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | SINAMICS G_2 | dopr-hmot-l2-521m1 | 6SL3210-1KE18-8AF1 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 4,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 3,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X200(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE18-8AF1?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | SINAMICS G_3 | dopr-hmot-l1-526m1 | 6SL3210-1KE18-8AF1 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 4,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 3,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X200(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE18-8AF1?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | SINAMICS G_4 | dopr-hmot-l1-527m1 | 6SL3210-1KE18-8AF1 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 4,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 3,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X200(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE18-8AF1?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | SINAMICS G_5 | dopr-hmot-l2-522m1 | 6SL3210-1KE18-8AF1 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 4,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 3,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X200(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE18-8AF1?tree=CatalogTree
2026-03-26 23:16:01 | tia19 | VH45P20 Doprava hmoty L1+L2-Figaro doprava hmoty | SINAMICS G_8 | dopr-hmot-l2-523m1 | 6SL3210-1KE18-8AF1 | 4.7.10 |  | Active Product | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 4,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 3,0kW at 200% 3s, 150% 57s, 100% 240s integrated filter class A external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X200(HXWXD) | https://sieportal.siemens.com/en-ww/products-services/detail/6SL3210-1KE18-8AF1?tree=CatalogTree